## Inputs (hidden)
10.1 General Info _All Bids
Operation Type | Proposal Arrangement Type | Operation Type | Bidder Classification
Baseload | PPA from Existing Unit | Baseload | Utility (Retail Serving)
Intermediate | PPA from Existing Unit with Purchase Option | Intermediate | Independent Power Producer
Peaking | PPA from New Unit | Peaking | Small Power Producer
Other | PPA from New Unit with Purchase Option | Intermittent | Cogenerator
| Equity Participation in Existing Unit |  | Other (if other please explain)
Project Dispatchability | Equity Participation in New Unit
AGC | EPC Turnkey Project
Fully Dispatchable | Sale of Existing Unit
Partially Dispatchable for Curltailment - Curtailment Dispatch Flexibility | Lease of Existing Unit
Non-dispatchable | Lease of New Unit
System Sale
Other
Renewable Resource Type
Solar
Wind
Geothermal | Yes | Included
Biomass | No | Excluded
Biogas
Hydropower
Fuel Cells
Other
Proposal Type
Standalone Renewable Resource
Renewable Resource with Storage
MWh
kWh
Texas
New Mexico
Other
Renewable Resource
Grid
Primary
Secondary
Tertiary
0
1
2

## 10.1_General Info
10.1 GENERAL INFORMATION TABLE FOR ALL BIDS ONLY
Proposal No. (select one)
1. Please fill in the following information, where applicable, in Excel format as provided below. |  | Option No. (select one)
2. Please fill out a separate form for each option and proposal.
Company Name
Bidder Classification (select one)
If Other:
Proposal Arrangement Type (select one)
If Other:
Proposal Term (yrs)
Proposal Type (select one)
Project Name
Project Address
Project Location (select one)
If Other:
Interconnection Point (substation/line)
Interconnection Point Coordinates (Degrees, Minutes, Seconds, i.e. DMS notation)
Project Edge of Property Where Gen-Tie Originates (DMS notation)
Acreage (acres)
Renewable Resource Type
If Other:
Confirm Renewable Resource Compliance with Definition per REA and Rule 572, ETA (select one)
Confirm REC Inclusion (select one)
Delivery Start Date or Commercial Operation Date (mm/dd/yy)
Guaranteed Completion Date, EPC (mm/dd/yy)
Proposed Delivery End or Retirement Date (mm/dd/yy)
Asset Life, if build-transfer type provides (yrs)
Inverters UL Certified, for both Renewable Resource and Storage (select one)
Storage Included (select one)
Storage Technology Type
Make and Model of Major Equipment (all components)
Solar Panels
Wind Turbines
Battery Storage
Inverters
Geothermal System
Biomass System
Biogas System
Hydropower System
Fuel Cells
Other
Project Dispatchability Capability (select one)
Expected Annual Energy (MWh/yr)(1)
Expected Annual Energy from Energy Profile (MWh/yr)(1) | 0
Does the Expected Annual Energy Input Above Match that of the Energy Profile?
Expected On-Peak Energy (MWh/yr)(1)
Expected On-Peak Energy from Energy Profile (MWh/yr)(1) | 0
Does the Expected Annual On-Peak Energy Input Match that of the Energy Profile?
Firm Annual Energy (MWh/yr)(1)
Firm Annual Energy from Energy Profile (MWh/yr)(1) | 0
Does the Firm Annual Energy Input Above Match that of the Energy Profile?
Guaranteed/Committee Annual Energy (MWh/yr)(1)
Annual Renewable Resource Degradation Rate (%)
EPE Dispatch Control of Renewable Resource (select one)
Annual Average Capacity Factor (%)
Peak Average Capacity Factor (%)
Storage Nameplate/Power Output, if applicable (MW)(1)
Annual Storage Degradation Rate (%)
EPE Dispatch Control of Renewable Resource + Storage (select one)
Operation Type (select one)
Maximum Net Capacity (MW)(1), (2)
Minimum Net Capactiy (MW) (1), (2), (3)
Guaranteed Heat Rate, HHV, if applicable (MMBTU/MWh)
Minimum Downtime, if applicable (hrs)
Minimum Uptime, if applicable (hrs)
Ramp Rates, if applicable (MW/minute)
Emissions Rates, if applicable (lbs/MMBTU and lbs/MWh)
Forced Outage Rate, if applicable (%)
Production/Output Estimates Source
(1) Delivered to EPE's load area
(2) Summer temperature is 105°F and winter temperature is 35°F
(3) Minimum online baseload output, more applicable to biomass and geothermal proposals

## 10.2_Standalone Renew Bids
10.2 TABLES FOR STANDALONE RENEWABLE RESOURCE BIDS ONLY
Bidder Name
1. Please fill in Tables 10.2.1, 10.2.2 and 10.2.3 in Excel format as provided below. | [8 empty] | Project Name
2. Please fill in a SEPARATE set of tables for each option and proposal. | [8 empty] | Proposal No.
3. For geothermal and biomass proposals, fill in your project's hourly available output profile. | [8 empty] | Option No.
Energy Units (select one)
Table 10.2.1 Expected Energy Production Profile - Renewable Resource (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
EXAMPLE
TABLE 10.2.1 Expected Energy Production Profile (MW)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0.18907 | 0 | 0.14569 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 4.7334 | 23.199 | 38.6616 | 41.6226 | 31.2715 | 18.9349 | 12.0338 | 0.23334 | 0 | 0
8 | 0 | 15.2348 | 35.0848 | 54.5771 | 60.8652 | 60.5554 | 51.0603 | 46.7722 | 47.9026 | 37.0081 | 24.6072 | 4.4602
9 | 40.7506 | 48.3161 | 52.8562 | 65.6627 | 65.1601 | 65.6559 | 55.5187 | 57.4195 | 60.352 | 51.7316 | 49.1387 | 45.3641
10 | 50.1209 | 54.4903 | 58.241 | 64.6959 | 65.3874 | 68.5877 | 60.4789 | 61.0196 | 62.267 | 55.1107 | 50.7704 | 51.0423
11 | 49.0999 | 53.9025 | 63.5792 | 65.7381 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 55.311 | 49.729 | 48.2119
12 | 46.3323 | 55.0997 | 61.8507 | 68.7057 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 53.7651 | 48.0206 | 44.2825
13 | 45.1161 | 54.6796 | 62.0743 | 67.2835 | 65.6738 | 68.1732 | 66.1323 | 60.6446 | 64.9147 | 52.1825 | 48.4386 | 44.463
14 | 46.8623 | 55.3274 | 62.5978 | 65.5001 | 67.5137 | 69.5026 | 64.6911 | 64.264 | 64.8443 | 57.7967 | 51.4136 | 47.1318
15 | 46.578 | 52.3749 | 60.7207 | 63.4145 | 64.8517 | 66.0982 | 62.5322 | 62.2006 | 62.0794 | 56.565 | 52.8518 | 41.5085
16 | 43.2767 | 43.5942 | 55.807 | 62.403 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 55.3013 | 45.0621 | 38.8351
17 | 19.3212 | 29.2345 | 45.8406 | 49.745 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 25.6756 | 11.0578 | 8.4485
18 | 0.011837 | 2.711 | 14.6497 | 24.159 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 0.40762 | 0 | 0
19 | 0 | 0 | 0.038535 | 0.27333 | 4.2453 | 7.424 | 8.9443 | 1.2235 | 0.24215 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/day | 387.4699 | 464.9651 | 578.0738 | 675.3569 | 746.5169 | 775.49 | 684.6083 | 675.3802 | 679.1874 | 501.0884 | 431.09 | 373.748
Total On-Peak MWh | 0 | 0 | 0 | 0 | 380.1292 | 393.8365 | 351.2945 | 361.4145 | 367.4661 | 0 | 0 | 0
Total MWh/yr | Jan: 212206.2053
Total On-Peak MWh | Jan: 56717.0625
Table 10.2.2 Firm Energy Production Profile - Renewable Resource (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
TABLE 10.2.3 Annual Production and Degradation
Year | Jan: Maximum Degradation (%); Feb: Expected Annual Energy Inclusive of Degradation (MWh/yr); Mar: Guaranteed Annual Energy Inclusive of Degradation (MWh/yr); Apr: Expected On-Peak Energy Inclusive of Degradation (MWh/yr); May: Guaranteed On-Peak Energy Inclusive of Degradation (MWh/yr)
1 | bar: Jan to May
2
3 | bar: Jan to May
4
5 | bar: Jan to May
6
7 | bar: Jan to May
8
9 | bar: Jan to May
10
11 | bar: Jan to May
12
13 | bar: Jan to May
14
15 | bar: Jan to May
16
17 | bar: Jan to May
18
19 | bar: Jan to May
20
21 | bar: Jan to May
22
23 | bar: Jan to May
24
25 | bar: Jan to May
26
27 | bar: Jan to May
28
29 | bar: Jan to May
30

## 10.3_Renewable+Storage Bids
10.3 TABLES FOR COUPLED RENEWABLE RESOURCE WITH STORAGE BIDS ONLY
Bidder Name
1. Please fill in Tables 10.3.1(a, b, c), 10.3.2(a, b, c), 10.3.3(a, b, c), 10.3.4(a, b, c), 10.3.5(a, b, c), and | [8 empty] | Project Name
10.3.6(a, b, c) in Excel format as provided below. | [8 empty] | Proposal No.
2. Please fill in a SEPARATE set of tables for each option and proposal. | [8 empty] | Option No.
3. Bidders MUST also fill 8,760 Energy Profile in Table 10.5. | [8 empty] | Energy Units (select one)
Table 10.3.1a Expected Energy Production Profile - Renewable Resource with Storage (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
Table 10.3.1b Expected Energy Production Profile - Renewable Resource Piece Only (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
Table 10.3.1c Expected Energy Production Profile - Storage Piece Only (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
EXAMPLE
TABLE 10.3.1 Production Profile (MW)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0.18907 | 0 | 0.14569 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 4.7334 | 23.199 | 38.6616 | 41.6226 | 31.2715 | 18.9349 | 12.0338 | 0.23334 | 0 | 0
8 | 0 | 15.2348 | 35.0848 | 54.5771 | 60.8652 | 60.5554 | 51.0603 | 46.7722 | 47.9026 | 37.0081 | 24.6072 | 4.4602
9 | 40.7506 | 48.3161 | 52.8562 | 65.6627 | 65.1601 | 65.6559 | 55.5187 | 57.4195 | 60.352 | 51.7316 | 49.1387 | 45.3641
10 | 50.1209 | 54.4903 | 58.241 | 64.6959 | 65.3874 | 68.5877 | 60.4789 | 61.0196 | 62.267 | 55.1107 | 50.7704 | 51.0423
11 | 49.0999 | 53.9025 | 63.5792 | 65.7381 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 55.311 | 49.729 | 48.2119
12 | 46.3323 | 55.0997 | 61.8507 | 68.7057 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 53.7651 | 48.0206 | 44.2825
13 | 45.1161 | 54.6796 | 62.0743 | 67.2835 | 65.6738 | 68.1732 | 66.1323 | 60.6446 | 64.9147 | 52.1825 | 48.4386 | 44.463
14 | 46.8623 | 55.3274 | 62.5978 | 65.5001 | 67.5137 | 69.5026 | 64.6911 | 64.264 | 64.8443 | 57.7967 | 51.4136 | 47.1318
15 | 46.578 | 52.3749 | 60.7207 | 63.4145 | 64.8517 | 66.0982 | 62.5322 | 62.2006 | 62.0794 | 56.565 | 52.8518 | 41.5085
16 | 43.2767 | 43.5942 | 55.807 | 62.403 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 55.3013 | 45.0621 | 38.8351
17 | 19.3212 | 29.2345 | 45.8406 | 49.745 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 25.6756 | 11.0578 | 8.4485
18 | 0.011837 | 2.711 | 14.6497 | 24.159 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 0.40762 | 0 | 0
19 | 0 | 0 | 0.038535 | 0.27333 | 4.2453 | 7.424 | 8.9443 | 1.2235 | 0.24215 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/day | 387.4699 | 464.9651 | 578.0738 | 675.3569 | 746.5169 | 775.49 | 684.6083 | 675.3802 | 679.1874 | 501.0884 | 431.09 | 373.748
Total On-Peak MWh | 0 | 0 | 0 | 0 | 380.1292 | 393.8365 | 351.2945 | 361.4145 | 367.4661 | 0 | 0 | 0
Total MWh/yr | Jan: 212206.2053
Total On-Peak MWh | Jan: 56717.0625
Table 10.3.2a Firm Energy Production Profile - Renewable Resource with Storage (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
Table 10.3.2b Firm Energy Production Profile - Renewable Resource Piece Only (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
Table 10.3.2c Firm Energy Production Profile - Storage Piece Only (MW) (1), (2), (3)
Hour Ending | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30, HE 13-18, MST)
Operating Characteristics
TABLE 10.3.3 Storage System Characteristics
Storage Energy Capacity, i.e., Output per Cycle - Full Discharge to Recommended Min Level (MWh) | bar: Jan to Jul
Storage Energy Capacity Degradation (%)
Discharge Duration (hrs) | bar: Jan to Jul
Response Time to Full Output (MW/Unit of Time)
Nominal Roundtrip Efficiency (%) | bar: Jan to Jul
Roundtrip Efficiency Degradation (%)
Discharge/Recharge Cycles (Cyles/yr) | bar: Jan to Jul
Guaranteed Annual Production (MWh)
Battery System Type | bar: Jan to Jul
Storage System Make and Model
Storage System Inverter Make and Model | bar: Jan to Jul
Cell Manufacturer
Number of Batteries (No.) | bar: Jan to Jul
Capability for Regulation (select one)
Response Time in Regulation Application (Unit of Time) | bar: Jan to Jul
Charging Source (select one)
Expected Battery Life - Max No of Cycles per Max DDR (yrs) (1) | bar: Jan to Jul
Expected Battery Life - Time Dependent (yrs) (2)
(1) Assume Maximum Number of Cycles per Year as denoted at the Maximum Designed Discharge Rate ("DDR") above
(2) If life of battery is Time Dependent
TABLE 10.3.4 Battery Recharge Time
Depth of Discharge, DOD (%) | bar: Jan to May
Recharge Time (hrs)
EXAMPLE
Depth of Discharge, DOD (%) | Feb: 90; Mar: 75; Apr: 50; May: 25
Recharge Time (hrs) | Feb: 8; Mar: 6.8; Apr: 5.5; May: 2.3
TABLE 10.3.5 Monthly Energy Summary - Renewable Resource with Storage
Month |  |  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTAL
Solar/Wind Net Generation Delivered to Grid (MWh) | [15 empty] | 0
Average Daily Solar/Wind Net Generation (MWh/day) | [15 empty] | 0
Peak Solar/Wind Capacity Delivered to Grid (MW) | [15 empty] | 0
Storage Energy Delivered to Grid (MWh) | [15 empty] | 0
Solar/Wind Generation Used to Charge Battery (MWh) | [15 empty] | 0
Grid Power Used to Charge Storage (MWh) | [15 empty] | 0
TABLE 10.3.6a Annual Production and Degradation - Coupled Renewable Resource with Storage |  |  |  | Apr: TABLE 10.3.6b Annual Production and Degradation - Renewable Resource Piece Only; Nov: TABLE 10.3.6c Annual Production and Degradation - Storage Piece Only
Year | Maximum Degradation (%) | Expected Annual Energy Inclusive of Degradation (MWh/yr) | Guaranteed Annual Energy Inclusive of Degradation (MWh/yr) | Expected On-Peak Energy Inclusive of Degradation (MWh/yr) | Guaranteed On-Peak Energy Inclusive of Degradation (MWh/yr) |  | Year | Maximum Degradation (%) | Expected Annual Energy Inclusive of Degradation (MWh/yr) | Guaranteed Annual Energy Inclusive of Degradation (MWh/yr) | Expected On-Peak Energy Inclusive of Degradation (MWh/yr) | Guaranteed On-Peak Energy Inclusive of Degradation (MWh/yr) |  | Year | Maximum Degradation (%) | Expected Annual Energy Inclusive of Degradation (MWh/yr) | Guaranteed Annual Energy Inclusive of Degradation (MWh/yr) | Expected On-Peak Energy Inclusive of Degradation (MWh/yr) | Guaranteed On-Peak Energy Inclusive of Degradation (MWh/yr)
1 | bar: Jan to Feb; Apr to Sep; Nov to Dec
2 |  |  |  | Apr: 2; Nov: 2
3 |  |  |  | Apr: 3; Nov: 3
4 |  |  |  | Apr: 4; Nov: 4
5 |  |  |  | Apr: 5; Nov: 5
6 |  |  |  | Apr: 6; Nov: 6
7 |  |  |  | Apr: 7; Nov: 7
8 |  |  |  | Apr: 8; Nov: 8
9 |  |  |  | Apr: 9; Nov: 9
10 |  |  |  | Apr: 10; Nov: 10
11 |  |  |  | Apr: 11; Nov: 11
12 |  |  |  | Apr: 12; Nov: 12
13 |  |  |  | Apr: 13; Nov: 13
14 |  |  |  | Apr: 14; Nov: 14
15 |  |  |  | Apr: 15; Nov: 15
16 |  |  |  | Apr: 16; Nov: 16
17 |  |  |  | Apr: 17; Nov: 17
18 |  |  |  | Apr: 18; Nov: 18
19 |  |  |  | Apr: 19; Nov: 19
20 |  |  |  | Apr: 20; Nov: 20
21 |  |  |  | Apr: 21; Nov: 21
22 |  |  |  | Apr: 22; Nov: 22
23 |  |  |  | Apr: 23; Nov: 23
24 |  |  |  | Apr: 24; Nov: 24
25 |  |  |  | Apr: 25; Nov: 25
26 |  |  |  | Apr: 26; Nov: 26
27 |  |  |  | Apr: 27; Nov: 27
28 |  |  |  | Apr: 28; Nov: 28
29 |  |  |  | Apr: 29; Nov: 29
30 |  |  |  | Apr: 30; Nov: 30

## 10.4_Bid Pricing
10.4 PROPOSAL PRICING
1. Please fill in Tables 10.4.1 AND/OR 10.4.2(a, b, c), and 10.4.3(a, b), if applicable, in Excel format |  |  |  |  | Bidder Name
as provided below. |  |  |  |  | Project Name
2. Please fill in a SEPARATE set of tables for each option and proposal. |  |  |  |  | Proposal No.
3. Pricing should be provided in nominal 2021 dollars. |  |  |  |  | Option No.
Table 10.4.1 For PPA Arrangement Proposals |  |  |  |  | Table 10.4.1 For PPA Arrangement Proposals
PPA Pricing |  |  |  |  | PPA Pricing Example
Bid Synopsis |  |  |  |  | Bid Synopsis
Bidder is prepared to finance, permit, design, engineer, procure and construct a 50 MWAC ground-mounted, single-axis tracking solar energy generating facility which will provide 141,000 MWh of renewable energy to EPE for PPA term options of 1, 5, or 20 years.
Project Description | PPA Term | Fixed PPA Pricing Energy Charge ($/MWh) | Fixed PPA Pricing Capacity Charge ($/kW-yr) |  | Project Description | PPA Term | Fixed PPA Pricing Energy Charge ($/MWh) | Fixed PPA Pricing Capacity Charge ($/kW-yr)
X1 MWh | Y1 Years |  |  |  | 141,000 MWh | 1 Years | 47 | ---
(X2 MW) | Y2 Years |  |  |  | (50 MW) | 5 Years | 43 | ---
| Y3 Years |  |  |  |  | 20 Years | 31 | ---
| Y4 Years |  |  |  |  | --- | --- | ---
| Y5 Years |  |  |  |  | --- | --- | ---
| Y6 Years |  |  |  |  | --- | --- | ---
Project Description | PPA Term | Escalating PPA Pricing Energy Charge ($/MWh) | Escalating PPA Pricing Capacity Charge ($/kW-yr) |  | Project Description | PPA Term | Escalating PPA Pricing Energy Charge ($/MWh) | Escalating PPA Pricing Capacity Charge ($/kW-yr)
X1 MWh | Y1 Years |  |  |  | 141,000 MWh | 1 Years | 36 | ---
(X2 MW) | Y2 Years |  |  |  | (50 MW) | 5 Years | 32 | ---
| Y3 Years |  |  |  |  | 20 Years | 20 | ---
| Y4 Years |  |  |  |  | --- | --- | ---
| Y5 Years |  |  |  |  | --- | --- | ---
| Y6 Years |  |  |  |  | --- | --- | ---
Escalation Rate (%) |  |  |  |  | Escalation Rate (%) |  | 2
Table 10.4.2a For BOT Arrangement Proposals
Build-Transfer Ownership Pricing
Overnight Capital Cost ($)
Tax ($)
Total Overnight Capital Cost ($) |  | 0
Construction Expenditures (%/yr or $/yr) |  | Fill in Table 10.4.2c
VOM Price ($/MWh)
FOM Price ($/kW-yr)
Personnel Requirements (No.)
Estimated Employee Salary ($/yr)
Maximum Number of Starts per Year (No.)
Start-Up Cost ($)
Transmission Charge ($/Year) If Transmission Rights/Reservation If located outside of EPE's system
Interconnection Fee ($)
Table 10.4.2b For BOT Arrangement Proposals
Build-Transfer Ownership Progress Payment Schedule Option
Payment Number | Description of Construction Expenditures at Milestone | Payment Due Date (i.e., year 1, year 2…) | Percent of Total Construction Cost (%) | Total Cost ($)
1
2
3
4
5
6
7
8
9
10
11
12
NOTE: Total Overnight Capital Cost including AFUDC
Table 10.4.2c For BOT Arrangement Proposals
Construction Expenditures
Year | Ratio (%/yr) | Capital Cost ($/yr)
Enter Year 1
Enter Year 2
Enter Year 3
Enter Year 4
Enter Year 5
NOTE: Overnight Capital Cost
Table 10.4.3a For All Proposals
Required Minor and Major O&M Activities
|  | Maintenance Based on |  |  |  | Table 10.4.3b For All Proposals
Component/ Maintenance Activity | Cost | Fired Hours | Frequency | Outage Duration |  | Definitions/Description
TOTAL | 0
NOTE: Please provide the O&M cash flow of operating costs in nominal 2019 dollars based on your
project's operation, i.e., baseload, intermediate, peaking, or intermittent based on its fired
hours per year for the respective outage cycle period.
Table 10.4.3a For All Proposals
Required Minor and Major O&M Activities Example
Maintenance Based on
Component/ Maintenance Activity | Cost | Fired Hours | Frequency | Duration
Inverter Replacement | 750000 | 24000 | Every two years | 2-weeks
Wind Turbine Rebuild | 1000000 | 48000 | Every two years | 4-weeks
Hardware Replacement | 2500000 | 100000 | Every four years | 8-weeks
Back-up Battery Replacement | 500000 | 32000 | Every 5 years | 3-weeks
TOTAL | 4750000

## 10.5 Conventional Bids
10.5 CONVENTIONAL AND DISPATCHABLE RESOURCES
Please provide the following information in Excel format as listed below (where applicable):
General Information
Company Name:
Generation Technology:
Configuration:
Project Address/Location/State:
Type of Proposal(Build-Transfer/PPA…):
Acreage (acres):
Term of Proposal (Yrs):
Project Available/Expected COD (Mo/Yr):
Asset Life (yrs):
Capacity Factor (%): (If resource has dispatch limitation)
Maximum Net Capacity (MW):
Minimum Net Capactiy (MW):
Guaranteed Heat Rate, HHV (MMBTU/MWh):
I/O Equations:
Maximum Annual Energy (MWh)(1):
Maximun On-Peak Energy (MWh)(1):
Fuel Type:
Back-up/Secondary Fuel Type:
Interconnecting Pipeline
Minimum Downtime
Minimum Uptime
Ramp Rates (MW/minute): |  | Please fill in TABLE 5.
Emissions Rates (lbs/MMBTU and lbs/MWh): |  | Please fill in TABLE 6.
Forced Outage Rate (%):
Build-Transfer Ownership |  |  | TABLES 1-6 ON NEXT SHEET
Overnight Capital Cost ($): |  | Please fill in TABLE 1 for payment detail if applicable.
Tax ($):
Total Overnight Capital Cost ($):
Construction Expenditures (%/yr or $/yr): |  | Please fill in TABLE 2 for per year breakdown detail.
VOM Cost ($/MWh):
FOM Cost ($/kW-yr):
Personnel Requirements (No.):
Estimated Employee Salary ($/yr): |  | (with overheads)
Minor and Major O&M Cost Schedule | Please Complete Table 3 | Please fill in TABLE 3 for minor and major O&M cost schedule.
Maximum Number of Starts per Year (No.):
Combustion Turbine (No.):
Combined-Cycle (No.):
Start-Up Cost ($):
Combustion Turbine Cost ($):
Combined-Cycle ($):
Transmission Charge ($/Year): If a Transmission Rights/Reservation applies and if located outside of EPE's system
Interconnection Fee ($):
PPA
Capacity Charge ($/kW-mo and $/Yr) : |  | Please fill in TABLE 4. | TABLES 1-6 ON NEXT SHEET
Escalation Rate for Capacity Charge (%):
Energy Charge ($/MWh): If to proposal is off index, define proposal. |  | Please fill in TABLE 4.
Escalation Rate for Energy Charge (%):
Provide I/O Equation: If Tolling PPA |  | (simple-cycle and combined-cycle mode - with and without duct-firing if applicable)
NOTES:
(1) First year energy (MWh)

## 10.5.1 Conventional Tables
10.5.1 TABLES FOR CONVENTIONAL AND DISPATCHABLE RESOURCES
Please fill in the following information in Excel format as listed below (where applicable):
TABLE 1. Build-Transfer Ownership Progress Payment Schedule Option
Payment Number | Description of Construction Expenditures ot Milestone | Payment Due Date (i.e. year 1, year 2…) | Percent of Total Construction Cost (%) | Total Cost ($)
1
2
3
4
5
6
7
8
9
10
11
12
NOTE: Total Overnight Capital Cost including AFUDC
TABLE 2. Construction Expenditures
| Ratio (%/yr) | Capital Cost ($/yr)
Year 1
Year 2
Year 3
Year 4
Year 5
NOTE: Overnight Capital Cost
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component/ Maintenance Activity | Cost | Fired Hours | Time Based Frequency | Outage Duration |  | Definitions/Description
TOTAL | 0
NOTE: Please provide the O&M cash flow of operating costs in nominal dollars based on your project's operation, i.e., peaking, intermediate or base load, based on its fired hours per year for the respective outage cycle period.
For Example
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component | Cost | Fired Hours | Frequency | Duration |  | Definitions/Description
CI | 750000 | 24000 | Every two years | 2-weeks |  | Combustion Inspection (“CI”)
HGPI | 1000000 | 48000 | Every two years | 4-weeks |  | Hot Gas Path Inspection (“HGPI”)
MI-GT | 2500000 | 100000 | Every four years | 8-weeks |  | Major Gas Turbine Inspection (“MI-GT”)
MN-ST | 500000 | 32000 | Every 5 years | 3-weeks |  | Minor Steam Turbine Valve Inspection (“MN-ST”)
MI-ST | 2750000 | 64000 | Every 10 years | 12-weeks |  | Major Steam Turbine Inspection (“MI-ST”)
PM | 100000 | --- | Every year | 2-weeks |  | Preventative Maintenance (“PM”) recommended or programmed into the overhaul/maintenance outage schedule and cost
TOTAL | 7600000
NOTE: The O&M cash flow of operating costs is based on combined-cycle mode, intermediate operation, assuming 6,360 fired hours per year, for a 10-year period in nominal dollars.
For Example
TABLE 4: PPA Pricing Arrangement | [5 empty] | TABLE 4: PPA Pricing Arrangement
Bid Synopsis (Example): | [5 empty] | Bid Synopsis (Example):
Bidder is prepared to finance, permit, design, engineer, procure and construct a X1 MW and/or X2 gas-fired generating facility for a term of Y years or Z years | [5 empty] | Bidder is prepared to finance, permit, design, engineer, procure and construct a 320 MW and/or 100 gas-fired generating facility for a term of 20 years or 40 years
| Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr) |  |  |  | Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr)
Project Description | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  | Project Description | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
X1 MW (Option 1) | --- | --- | --- | --- |  | 320 MW (Option 1) | 55 | 50 | --- | ---
| Escalating Pricing PPA Pricing ($/MWh) |  | Escalating Pricing PPA Pricing ($/MWh) |  |  |  | Escalating Pricing PPA Pricing ($/MWh) |  | Escalating Pricing PPA Pricing ($/MWh)
| Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  |  | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
X2 MW (Option 2) | --- | --- | --- | --- |  | 100 MW (Option 2) | 38 | 36 | --- | ---
Escalation Rate | [5 empty] | Escalation Rate
NOTE: Please provide escalation rates (%)
TABLE 5: Ramp Rates
Operation Level | Ramp-Up Rate (MW/min) | Ramp-Down Rate (MW/min)
Minimum Level
Incremental Level 1
Incremental Level 2
Incremental Level 3
Incremental Level 4
Incremental Level 5
NOTE: Provide for each operational mode (i.e. simple cycle, combined cycle, duct firing,….)
TABLE 6. Emission Rates (lbs/MMBTU and lbs/MWh)
| NOx | CO | CO2 | SO2 | PM | PM10 | VOC
lbs/MMBTU
lbs/MWh

## 10.6 Load Managment
10.6 LOAD MANAGEMENT RESOURCES
Please provide the following information in Excel format as listed below (where applicable):
Program Type: |  |  | Demand Response/Load Curtailment/Direct Load Control
Location (TX/NM):
Program Delivery Period (Mo/Yr):
Type of Proposal:
Term of Proposal (Yrs):
Number of Customers (No.):
Control Interface Type:
Type of Automation Infrastructure:
Qualifies for Non-Spinning Reserves (Y/N):
Number of Hours (hrs/yr):
Maximum Annual Energy (MWh):
Program Cost ($):
Escalation Rate (%):
Number of Events (No./year):
Frequency of Events (No./month):
Duration of Event (min or hrs)
AGC/Dispatchability (Y/N):
Dispatchable Capacity Amount (MW):
Dispatchable Availability (1):
Response Time (min)(2):
Demand Charge ($/kW-yr):
Number of Sites (No.):
Program Implementation Fee ($)(3):
Per Site Enablement Fee ($)(3):
Per Site Recruiting Fee ($)(3):
Annual Technolgy License Fee ($)(4):
Annual per Site Enrolled Fee ($)(4):
Customer Incentive ($/MWh)(4):
Pricing Option: Hardware and Services Charge ($/kW)(5):
NOTES:
(1) For example, available for dispatch 24 hours per day, seven days per week, year-round
(2) For example, will provide notification and automated load control services within 10-15 minutes of EPE dispatch
(3) Upfront costs
(4) Recurring costs
(5) This is for a different arrangement where Bidder would build and manage the resource (manage all equipment and maintence)
only and EPE would responsible for setting program parameters and customer incentives that best meet system needs.
Additional Information Requests:
(1) Please provide all costs. Itemize costs and include breakout of program implementation costs, licenses, marketing and admin expenses.
(2) Please provide a description of all maintanance and service plans and associated costs fo the program.
(3) Please provide a project schedule including major milestones.
Build-Transfer Ownership
Overnight Capital Cost ($):
Tax ($):
Total Overnight Capital Cost ($):
Construction Expenditures (%/yr or $/yr):
VOM Price ($/MWh):
FOM Price ($/kW-yr):
Personnel Requirements (No.):
Estimated Employee Salary ($/yr): |  | (with overheads)
Minor and Major O&M Cost Schedule | If applicable, provide details.
Maximum Number of Starts per Year (No.):
Start-Up Cost ($):
Transmission Charge ($/Year): If Transmission Rights/Reservation If located outside of EPE's system
Interconnection Fee ($):
PPA
Capacity Charge ($/kW-mo and $/Yr) :
Escalation Rate for Capacity Charge (%):
Energy Charge ($/MWh): If to proposal is off index, define proposal.
Escalation Rate for Energy Charge (%):

## 10.6.1 Load Mgmt. Tables
10.6.1 LOAD MANAGEMENT RESOURCES
Please fill in the following information in Excel format as provided below (where applicable):
TABLE 1. Production Profile (MW) (1), (2),
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) First year energy (MWh)
(2) On-Peak (May 1-Sept 30 11AM-4PM)
For Example
TABLE 1. Production Profile (MW)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 15.2348 | 35.0848 | 54.5771 | 60.8652 | 60.5554 | 51.0603 | 46.7722 | 47.9026 | 37.0081 | 24.6072 | 4.4602
9 | 40.7506 | 48.3161 | 52.8562 | 65.6627 | 65.1601 | 65.6559 | 55.5187 | 57.4195 | 60.352 | 51.7316 | 49.1387 | 45.3641
10 | 50.1209 | 54.4903 | 58.241 | 64.6959 | 65.3874 | 68.5877 | 60.4789 | 61.0196 | 62.267 | 55.1107 | 50.7704 | 51.0423
11 | 49.0999 | 53.9025 | 63.5792 | 65.7381 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 55.311 | 49.729 | 48.2119
12 | 46.3323 | 55.0997 | 61.8507 | 68.7057 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 53.7651 | 48.0206 | 44.2825
13 | 45.1161 | 54.6796 | 62.0743 | 67.2835 | 65.6738 | 68.1732 | 66.1323 | 60.6446 | 64.9147 | 52.1825 | 48.4386 | 44.463
14 | 46.8623 | 55.3274 | 62.5978 | 65.5001 | 67.5137 | 69.5026 | 64.6911 | 64.264 | 64.8443 | 57.7967 | 51.4136 | 47.1318
15 | 46.578 | 52.3749 | 60.7207 | 63.4145 | 64.8517 | 66.0982 | 62.5322 | 62.2006 | 62.0794 | 56.565 | 52.8518 | 41.5085
16 | 43.2767 | 43.5942 | 55.807 | 62.403 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 55.3013 | 45.0621 | 38.8351
17 | 19.3212 | 29.2345 | 45.8406 | 49.745 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 25.6756 | 11.0578 | 8.4485
18 | 0.011837 | 2.711 | 14.6497 | 24.159 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 0.40762 | 0 | 0
19 | 0 | 0 | 0.038535 | 0.27333 | 4.2453 | 7.424 | 8.9443 | 1.2235 | 0.24215 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/day | 387.4699 | 464.9651 | 573.3404 | 652.1579 | 707.6663 | 733.8675 | 653.1911 | 656.4453 | 667.1537 | 500.8551 | 431.09 | 373.748
Total On-Peak MWh | 0 | 0 | 0 | 0 | 380.1292 | 393.8365 | 351.2945 | 361.4145 | 367.4661 | 0 | 0 | 0
Total MWh/yr | Jan: 206981.2906
Total On-Peak MWh | Jan: 56717.0625

## 10.7_8,760 Energy Profile
10.7 8,760 HOURLY ENERGY PROFILES
Bidder Name
Project Name
Proposal No.
Option No.
Energy Units (select one)
1. Please fill in the following information, if applicable, in Excel format as provided below.
2. Please fill in a SEPARATE table or SEPARATE set of tables (for coupled bids) for each option and proposal.
2. Bidders MUST fill in the 8,760 Energy Profile in Table 10.5.1.
*** For coupled renewable resource with storage bids, please fill in tables 10.5.2a, 10.5.2b, 10.5.2c for system and each component same as Tables 10.3.1a, 10.3.1b, 10.3.1c.
TABLE FOR STANDALONE RENEWABLE RESOURCE BIDS ONLY
Table 10.5.1 Expected Energy Production Profile - Standalone Renewable Resource (MW)
Hour Ending
Date | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 24:00
2008-01-01
2008-01-02
2008-01-03
2008-01-04
2008-01-05
2008-01-06
2008-01-07
2008-01-08
2008-01-09
2008-01-10
2008-01-11
2008-01-12
2008-01-13
2008-01-14
2008-01-15
2008-01-16
2008-01-17
2008-01-18
2008-01-19
2008-01-20
2008-01-21
2008-01-22
2008-01-23
2008-01-24
2008-01-25
2008-01-26
2008-01-27
2008-01-28
2008-01-29
2008-01-30
2008-01-31
2008-02-01
2008-02-02
2008-02-03
2008-02-04
2008-02-05
2008-02-06
2008-02-07
2008-02-08
2008-02-09
2008-02-10
2008-02-11
2008-02-12
2008-02-13
2008-02-14
2008-02-15
2008-02-16
2008-02-17
2008-02-18
2008-02-19
2008-02-20
2008-02-21
2008-02-22
2008-02-23
2008-02-24
2008-02-25
2008-02-26
2008-02-27
2008-02-28
2008-02-29
2008-03-01
2008-03-02
2008-03-03
2008-03-04
2008-03-05
2008-03-06
2008-03-07
2008-03-08
2008-03-09
2008-03-10
2008-03-11
2008-03-12
2008-03-13
2008-03-14
2008-03-15
2008-03-16
2008-03-17
2008-03-18
2008-03-19
2008-03-20
2008-03-21
2008-03-22
2008-03-23
2008-03-24
2008-03-25
2008-03-26
2008-03-27
2008-03-28
2008-03-29
2008-03-30
2008-03-31
2008-04-01
2008-04-02
2008-04-03
2008-04-04
2008-04-05
2008-04-06
2008-04-07
2008-04-08
2008-04-09
2008-04-10
2008-04-11
2008-04-12
2008-04-13
2008-04-14
2008-04-15
2008-04-16
2008-04-17
2008-04-18
2008-04-19
2008-04-20
2008-04-21
2008-04-22
2008-04-23
2008-04-24
2008-04-25
2008-04-26
2008-04-27
2008-04-28
2008-04-29
2008-04-30
2008-05-01
2008-05-02
2008-05-03
2008-05-04
2008-05-05
2008-05-06
2008-05-07
2008-05-08
2008-05-09
2008-05-10
2008-05-11
2008-05-12
2008-05-13
2008-05-14
2008-05-15
2008-05-16
2008-05-17
2008-05-18
2008-05-19
2008-05-20
2008-05-21
2008-05-22
2008-05-23
2008-05-24
2008-05-25
2008-05-26
2008-05-27
2008-05-28
2008-05-29
2008-05-30
2008-05-31
2008-06-01
2008-06-02
2008-06-03
2008-06-04
2008-06-05
2008-06-06
2008-06-07
2008-06-08
2008-06-09
2008-06-10
2008-06-11
2008-06-12
2008-06-13
2008-06-14
2008-06-15
2008-06-16
2008-06-17
2008-06-18
2008-06-19
2008-06-20
2008-06-21
2008-06-22
2008-06-23
2008-06-24
2008-06-25
2008-06-26
2008-06-27
2008-06-28
2008-06-29
2008-06-30
2008-07-01
2008-07-02
2008-07-03
2008-07-04
2008-07-05
2008-07-06
2008-07-07
2008-07-08
2008-07-09
2008-07-10
2008-07-11
2008-07-12
2008-07-13
2008-07-14
2008-07-15
2008-07-16
2008-07-17
2008-07-18
2008-07-19
2008-07-20
2008-07-21
2008-07-22
2008-07-23
2008-07-24
2008-07-25
2008-07-26
2008-07-27
2008-07-28
2008-07-29
2008-07-30
2008-07-31
2008-08-01
2008-08-02
2008-08-03
2008-08-04
2008-08-05
2008-08-06
2008-08-07
2008-08-08
2008-08-09
2008-08-10
2008-08-11
2008-08-12
2008-08-13
2008-08-14
2008-08-15
2008-08-16
2008-08-17
2008-08-18
2008-08-19
2008-08-20
2008-08-21
2008-08-22
2008-08-23
2008-08-24
2008-08-25
2008-08-26
2008-08-27
2008-08-28
2008-08-29
2008-08-30
2008-08-31
2008-09-01
2008-09-02
2008-09-03
2008-09-04
2008-09-05
2008-09-06
2008-09-07
2008-09-08
2008-09-09
2008-09-10
2008-09-11
2008-09-12
2008-09-13
2008-09-14
2008-09-15
2008-09-16
2008-09-17
2008-09-18
2008-09-19
2008-09-20
2008-09-21
2008-09-22
2008-09-23
2008-09-24
2008-09-25
2008-09-26
2008-09-27
2008-09-28
2008-09-29
2008-09-30
2008-10-01
2008-10-02
2008-10-03
2008-10-04
2008-10-05
2008-10-06
2008-10-07
2008-10-08
2008-10-09
2008-10-10
2008-10-11
2008-10-12
2008-10-13
2008-10-14
2008-10-15
2008-10-16
2008-10-17
2008-10-18
2008-10-19
2008-10-20
2008-10-21
2008-10-22
2008-10-23
2008-10-24
2008-10-25
2008-10-26
2008-10-27
2008-10-28
2008-10-29
2008-10-30
2008-10-31
2008-11-01
2008-11-02
2008-11-03
2008-11-04
2008-11-05
2008-11-06
2008-11-07
2008-11-08
2008-11-09
2008-11-10
2008-11-11
2008-11-12
2008-11-13
2008-11-14
2008-11-15
2008-11-16
2008-11-17
2008-11-18
2008-11-19
2008-11-20
2008-11-21
2008-11-22
2008-11-23
2008-11-24
2008-11-25
2008-11-26
2008-11-27
2008-11-28
2008-11-29
2008-11-30
2008-12-01
2008-12-02
2008-12-03
2008-12-04
2008-12-05
2008-12-06
2008-12-07
2008-12-08
2008-12-09
2008-12-10
2008-12-11
2008-12-12
2008-12-13
2008-12-14
2008-12-15
2008-12-16
2008-12-17
2008-12-18
2008-12-19
2008-12-20
2008-12-21
2008-12-22
2008-12-23
2008-12-24
2008-12-25
2008-12-26
2008-12-27
2008-12-28
2008-12-29
2008-12-30
2008-12-31
TABLES FOR COUPLED RENEWABLE RESOURCE WITH STORAGE BIDS ONLY
Table 10.5.2a Expected Energy Production Profile - Renewable Resource with Storage (MW)
Hour Ending
Date | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 24:00
2008-01-01
2008-01-02
2008-01-03
2008-01-04
2008-01-05
2008-01-06
2008-01-07
2008-01-08
2008-01-09
2008-01-10
2008-01-11
2008-01-12
2008-01-13
2008-01-14
2008-01-15
2008-01-16
2008-01-17
2008-01-18
2008-01-19
2008-01-20
2008-01-21
2008-01-22
2008-01-23
2008-01-24
2008-01-25
2008-01-26
2008-01-27
2008-01-28
2008-01-29
2008-01-30
2008-01-31
2008-02-01
2008-02-02
2008-02-03
2008-02-04
2008-02-05
2008-02-06
2008-02-07
2008-02-08
2008-02-09
2008-02-10
2008-02-11
2008-02-12
2008-02-13
2008-02-14
2008-02-15
2008-02-16
2008-02-17
2008-02-18
2008-02-19
2008-02-20
2008-02-21
2008-02-22
2008-02-23
2008-02-24
2008-02-25
2008-02-26
2008-02-27
2008-02-28
2008-02-29
2008-03-01
2008-03-02
2008-03-03
2008-03-04
2008-03-05
2008-03-06
2008-03-07
2008-03-08
2008-03-09
2008-03-10
2008-03-11
2008-03-12
2008-03-13
2008-03-14
2008-03-15
2008-03-16
2008-03-17
2008-03-18
2008-03-19
2008-03-20
2008-03-21
2008-03-22
2008-03-23
2008-03-24
2008-03-25
2008-03-26
2008-03-27
2008-03-28
2008-03-29
2008-03-30
2008-03-31
2008-04-01
2008-04-02
2008-04-03
2008-04-04
2008-04-05
2008-04-06
2008-04-07
2008-04-08
2008-04-09
2008-04-10
2008-04-11
2008-04-12
2008-04-13
2008-04-14
2008-04-15
2008-04-16
2008-04-17
2008-04-18
2008-04-19
2008-04-20
2008-04-21
2008-04-22
2008-04-23
2008-04-24
2008-04-25
2008-04-26
2008-04-27
2008-04-28
2008-04-29
2008-04-30
2008-05-01
2008-05-02
2008-05-03
2008-05-04
2008-05-05
2008-05-06
2008-05-07
2008-05-08
2008-05-09
2008-05-10
2008-05-11
2008-05-12
2008-05-13
2008-05-14
2008-05-15
2008-05-16
2008-05-17
2008-05-18
2008-05-19
2008-05-20
2008-05-21
2008-05-22
2008-05-23
2008-05-24
2008-05-25
2008-05-26
2008-05-27
2008-05-28
2008-05-29
2008-05-30
2008-05-31
2008-06-01
2008-06-02
2008-06-03
2008-06-04
2008-06-05
2008-06-06
2008-06-07
2008-06-08
2008-06-09
2008-06-10
2008-06-11
2008-06-12
2008-06-13
2008-06-14
2008-06-15
2008-06-16
2008-06-17
2008-06-18
2008-06-19
2008-06-20
2008-06-21
2008-06-22
2008-06-23
2008-06-24
2008-06-25
2008-06-26
2008-06-27
2008-06-28
2008-06-29
2008-06-30
2008-07-01
2008-07-02
2008-07-03
2008-07-04
2008-07-05
2008-07-06
2008-07-07
2008-07-08
2008-07-09
2008-07-10
2008-07-11
2008-07-12
2008-07-13
2008-07-14
2008-07-15
2008-07-16
2008-07-17
2008-07-18
2008-07-19
2008-07-20
2008-07-21
2008-07-22
2008-07-23
2008-07-24
2008-07-25
2008-07-26
2008-07-27
2008-07-28
2008-07-29
2008-07-30
2008-07-31
2008-08-01
2008-08-02
2008-08-03
2008-08-04
2008-08-05
2008-08-06
2008-08-07
2008-08-08
2008-08-09
2008-08-10
2008-08-11
2008-08-12
2008-08-13
2008-08-14
2008-08-15
2008-08-16
2008-08-17
2008-08-18
2008-08-19
2008-08-20
2008-08-21
2008-08-22
2008-08-23
2008-08-24
2008-08-25
2008-08-26
2008-08-27
2008-08-28
2008-08-29
2008-08-30
2008-08-31
2008-09-01
2008-09-02
2008-09-03
2008-09-04
2008-09-05
2008-09-06
2008-09-07
2008-09-08
2008-09-09
2008-09-10
2008-09-11
2008-09-12
2008-09-13
2008-09-14
2008-09-15
2008-09-16
2008-09-17
2008-09-18
2008-09-19
2008-09-20
2008-09-21
2008-09-22
2008-09-23
2008-09-24
2008-09-25
2008-09-26
2008-09-27
2008-09-28
2008-09-29
2008-09-30
2008-10-01
2008-10-02
2008-10-03
2008-10-04
2008-10-05
2008-10-06
2008-10-07
2008-10-08
2008-10-09
2008-10-10
2008-10-11
2008-10-12
2008-10-13
2008-10-14
2008-10-15
2008-10-16
2008-10-17
2008-10-18
2008-10-19
2008-10-20
2008-10-21
2008-10-22
2008-10-23
2008-10-24
2008-10-25
2008-10-26
2008-10-27
2008-10-28
2008-10-29
2008-10-30
2008-10-31
2008-11-01
2008-11-02
2008-11-03
2008-11-04
2008-11-05
2008-11-06
2008-11-07
2008-11-08
2008-11-09
2008-11-10
2008-11-11
2008-11-12
2008-11-13
2008-11-14
2008-11-15
2008-11-16
2008-11-17
2008-11-18
2008-11-19
2008-11-20
2008-11-21
2008-11-22
2008-11-23
2008-11-24
2008-11-25
2008-11-26
2008-11-27
2008-11-28
2008-11-29
2008-11-30
2008-12-01
2008-12-02
2008-12-03
2008-12-04
2008-12-05
2008-12-06
2008-12-07
2008-12-08
2008-12-09
2008-12-10
2008-12-11
2008-12-12
2008-12-13
2008-12-14
2008-12-15
2008-12-16
2008-12-17
2008-12-18
2008-12-19
2008-12-20
2008-12-21
2008-12-22
2008-12-23
2008-12-24
2008-12-25
2008-12-26
2008-12-27
2008-12-28
2008-12-29
2008-12-30
2008-12-31
Table 10.5.2b Expected Energy Production Profile - Renewable Resource Piece Only (MW)
Hour Ending
Date | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 24:00
2008-01-01
2008-01-02
2008-01-03
2008-01-04
2008-01-05
2008-01-06
2008-01-07
2008-01-08
2008-01-09
2008-01-10
2008-01-11
2008-01-12
2008-01-13
2008-01-14
2008-01-15
2008-01-16
2008-01-17
2008-01-18
2008-01-19
2008-01-20
2008-01-21
2008-01-22
2008-01-23
2008-01-24
2008-01-25
2008-01-26
2008-01-27
2008-01-28
2008-01-29
2008-01-30
2008-01-31
2008-02-01
2008-02-02
2008-02-03
2008-02-04
2008-02-05
2008-02-06
2008-02-07
2008-02-08
2008-02-09
2008-02-10
2008-02-11
2008-02-12
2008-02-13
2008-02-14
2008-02-15
2008-02-16
2008-02-17
2008-02-18
2008-02-19
2008-02-20
2008-02-21
2008-02-22
2008-02-23
2008-02-24
2008-02-25
2008-02-26
2008-02-27
2008-02-28
2008-02-29
2008-03-01
2008-03-02
2008-03-03
2008-03-04
2008-03-05
2008-03-06
2008-03-07
2008-03-08
2008-03-09
2008-03-10
2008-03-11
2008-03-12
2008-03-13
2008-03-14
2008-03-15
2008-03-16
2008-03-17
2008-03-18
2008-03-19
2008-03-20
2008-03-21
2008-03-22
2008-03-23
2008-03-24
2008-03-25
2008-03-26
2008-03-27
2008-03-28
2008-03-29
2008-03-30
2008-03-31
2008-04-01
2008-04-02
2008-04-03
2008-04-04
2008-04-05
2008-04-06
2008-04-07
2008-04-08
2008-04-09
2008-04-10
2008-04-11
2008-04-12
2008-04-13
2008-04-14
2008-04-15
2008-04-16
2008-04-17
2008-04-18
2008-04-19
2008-04-20
2008-04-21
2008-04-22
2008-04-23
2008-04-24
2008-04-25
2008-04-26
2008-04-27
2008-04-28
2008-04-29
2008-04-30
2008-05-01
2008-05-02
2008-05-03
2008-05-04
2008-05-05
2008-05-06
2008-05-07
2008-05-08
2008-05-09
2008-05-10
2008-05-11
2008-05-12
2008-05-13
2008-05-14
2008-05-15
2008-05-16
2008-05-17
2008-05-18
2008-05-19
2008-05-20
2008-05-21
2008-05-22
2008-05-23
2008-05-24
2008-05-25
2008-05-26
2008-05-27
2008-05-28
2008-05-29
2008-05-30
2008-05-31
2008-06-01
2008-06-02
2008-06-03
2008-06-04
2008-06-05
2008-06-06
2008-06-07
2008-06-08
2008-06-09
2008-06-10
2008-06-11
2008-06-12
2008-06-13
2008-06-14
2008-06-15
2008-06-16
2008-06-17
2008-06-18
2008-06-19
2008-06-20
2008-06-21
2008-06-22
2008-06-23
2008-06-24
2008-06-25
2008-06-26
2008-06-27
2008-06-28
2008-06-29
2008-06-30
2008-07-01
2008-07-02
2008-07-03
2008-07-04
2008-07-05
2008-07-06
2008-07-07
2008-07-08
2008-07-09
2008-07-10
2008-07-11
2008-07-12
2008-07-13
2008-07-14
2008-07-15
2008-07-16
2008-07-17
2008-07-18
2008-07-19
2008-07-20
2008-07-21
2008-07-22
2008-07-23
2008-07-24
2008-07-25
2008-07-26
2008-07-27
2008-07-28
2008-07-29
2008-07-30
2008-07-31
2008-08-01
2008-08-02
2008-08-03
2008-08-04
2008-08-05
2008-08-06
2008-08-07
2008-08-08
2008-08-09
2008-08-10
2008-08-11
2008-08-12
2008-08-13
2008-08-14
2008-08-15
2008-08-16
2008-08-17
2008-08-18
2008-08-19
2008-08-20
2008-08-21
2008-08-22
2008-08-23
2008-08-24
2008-08-25
2008-08-26
2008-08-27
2008-08-28
2008-08-29
2008-08-30
2008-08-31
2008-09-01
2008-09-02
2008-09-03
2008-09-04
2008-09-05
2008-09-06
2008-09-07
2008-09-08
2008-09-09
2008-09-10
2008-09-11
2008-09-12
2008-09-13
2008-09-14
2008-09-15
2008-09-16
2008-09-17
2008-09-18
2008-09-19
2008-09-20
2008-09-21
2008-09-22
2008-09-23
2008-09-24
2008-09-25
2008-09-26
2008-09-27
2008-09-28
2008-09-29
2008-09-30
2008-10-01
2008-10-02
2008-10-03
2008-10-04
2008-10-05
2008-10-06
2008-10-07
2008-10-08
2008-10-09
2008-10-10
2008-10-11
2008-10-12
2008-10-13
2008-10-14
2008-10-15
2008-10-16
2008-10-17
2008-10-18
2008-10-19
2008-10-20
2008-10-21
2008-10-22
2008-10-23
2008-10-24
2008-10-25
2008-10-26
2008-10-27
2008-10-28
2008-10-29
2008-10-30
2008-10-31
2008-11-01
2008-11-02
2008-11-03
2008-11-04
2008-11-05
2008-11-06
2008-11-07
2008-11-08
2008-11-09
2008-11-10
2008-11-11
2008-11-12
2008-11-13
2008-11-14
2008-11-15
2008-11-16
2008-11-17
2008-11-18
2008-11-19
2008-11-20
2008-11-21
2008-11-22
2008-11-23
2008-11-24
2008-11-25
2008-11-26
2008-11-27
2008-11-28
2008-11-29
2008-11-30
2008-12-01
2008-12-02
2008-12-03
2008-12-04
2008-12-05
2008-12-06
2008-12-07
2008-12-08
2008-12-09
2008-12-10
2008-12-11
2008-12-12
2008-12-13
2008-12-14
2008-12-15
2008-12-16
2008-12-17
2008-12-18
2008-12-19
2008-12-20
2008-12-21
2008-12-22
2008-12-23
2008-12-24
2008-12-25
2008-12-26
2008-12-27
2008-12-28
2008-12-29
2008-12-30
2008-12-31
Table 10.5.2c Expected Energy Production Profile - Storage Piece Only (MW)
Hour Ending
Date | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 24:00
2008-01-01
2008-01-02
2008-01-03
2008-01-04
2008-01-05
2008-01-06
2008-01-07
2008-01-08
2008-01-09
2008-01-10
2008-01-11
2008-01-12
2008-01-13
2008-01-14
2008-01-15
2008-01-16
2008-01-17
2008-01-18
2008-01-19
2008-01-20
2008-01-21
2008-01-22
2008-01-23
2008-01-24
2008-01-25
2008-01-26
2008-01-27
2008-01-28
2008-01-29
2008-01-30
2008-01-31
2008-02-01
2008-02-02
2008-02-03
2008-02-04
2008-02-05
2008-02-06
2008-02-07
2008-02-08
2008-02-09
2008-02-10
2008-02-11
2008-02-12
2008-02-13
2008-02-14
2008-02-15
2008-02-16
2008-02-17
2008-02-18
2008-02-19
2008-02-20
2008-02-21
2008-02-22
2008-02-23
2008-02-24
2008-02-25
2008-02-26
2008-02-27
2008-02-28
2008-02-29
2008-03-01
2008-03-02
2008-03-03
2008-03-04
2008-03-05
2008-03-06
2008-03-07
2008-03-08
2008-03-09
2008-03-10
2008-03-11
2008-03-12
2008-03-13
2008-03-14
2008-03-15
2008-03-16
2008-03-17
2008-03-18
2008-03-19
2008-03-20
2008-03-21
2008-03-22
2008-03-23
2008-03-24
2008-03-25
2008-03-26
2008-03-27
2008-03-28
2008-03-29
2008-03-30
2008-03-31
2008-04-01
2008-04-02
2008-04-03
2008-04-04
2008-04-05
2008-04-06
2008-04-07
2008-04-08
2008-04-09
2008-04-10
2008-04-11
2008-04-12
2008-04-13
2008-04-14
2008-04-15
2008-04-16
2008-04-17
2008-04-18
2008-04-19
2008-04-20
2008-04-21
2008-04-22
2008-04-23
2008-04-24
2008-04-25
2008-04-26
2008-04-27
2008-04-28
2008-04-29
2008-04-30
2008-05-01
2008-05-02
2008-05-03
2008-05-04
2008-05-05
2008-05-06
2008-05-07
2008-05-08
2008-05-09
2008-05-10
2008-05-11
2008-05-12
2008-05-13
2008-05-14
2008-05-15
2008-05-16
2008-05-17
2008-05-18
2008-05-19
2008-05-20
2008-05-21
2008-05-22
2008-05-23
2008-05-24
2008-05-25
2008-05-26
2008-05-27
2008-05-28
2008-05-29
2008-05-30
2008-05-31
2008-06-01
2008-06-02
2008-06-03
2008-06-04
2008-06-05
2008-06-06
2008-06-07
2008-06-08
2008-06-09
2008-06-10
2008-06-11
2008-06-12
2008-06-13
2008-06-14
2008-06-15
2008-06-16
2008-06-17
2008-06-18
2008-06-19
2008-06-20
2008-06-21
2008-06-22
2008-06-23
2008-06-24
2008-06-25
2008-06-26
2008-06-27
2008-06-28
2008-06-29
2008-06-30
2008-07-01
2008-07-02
2008-07-03
2008-07-04
2008-07-05
2008-07-06
2008-07-07
2008-07-08
2008-07-09
2008-07-10
2008-07-11
2008-07-12
2008-07-13
2008-07-14
2008-07-15
2008-07-16
2008-07-17
2008-07-18
2008-07-19
2008-07-20
2008-07-21
2008-07-22
2008-07-23
2008-07-24
2008-07-25
2008-07-26
2008-07-27
2008-07-28
2008-07-29
2008-07-30
2008-07-31
2008-08-01
2008-08-02
2008-08-03
2008-08-04
2008-08-05
2008-08-06
2008-08-07
2008-08-08
2008-08-09
2008-08-10
2008-08-11
2008-08-12
2008-08-13
2008-08-14
2008-08-15
2008-08-16
2008-08-17
2008-08-18
2008-08-19
2008-08-20
2008-08-21
2008-08-22
2008-08-23
2008-08-24
2008-08-25
2008-08-26
2008-08-27
2008-08-28
2008-08-29
2008-08-30
2008-08-31
2008-09-01
2008-09-02
2008-09-03
2008-09-04
2008-09-05
2008-09-06
2008-09-07
2008-09-08
2008-09-09
2008-09-10
2008-09-11
2008-09-12
2008-09-13
2008-09-14
2008-09-15
2008-09-16
2008-09-17
2008-09-18
2008-09-19
2008-09-20
2008-09-21
2008-09-22
2008-09-23
2008-09-24
2008-09-25
2008-09-26
2008-09-27
2008-09-28
2008-09-29
2008-09-30
2008-10-01
2008-10-02
2008-10-03
2008-10-04
2008-10-05
2008-10-06
2008-10-07
2008-10-08
2008-10-09
2008-10-10
2008-10-11
2008-10-12
2008-10-13
2008-10-14
2008-10-15
2008-10-16
2008-10-17
2008-10-18
2008-10-19
2008-10-20
2008-10-21
2008-10-22
2008-10-23
2008-10-24
2008-10-25
2008-10-26
2008-10-27
2008-10-28
2008-10-29
2008-10-30
2008-10-31
2008-11-01
2008-11-02
2008-11-03
2008-11-04
2008-11-05
2008-11-06
2008-11-07
2008-11-08
2008-11-09
2008-11-10
2008-11-11
2008-11-12
2008-11-13
2008-11-14
2008-11-15
2008-11-16
2008-11-17
2008-11-18
2008-11-19
2008-11-20
2008-11-21
2008-11-22
2008-11-23
2008-11-24
2008-11-25
2008-11-26
2008-11-27
2008-11-28
2008-11-29
2008-11-30
2008-12-01
2008-12-02
2008-12-03
2008-12-04
2008-12-05
2008-12-06
2008-12-07
2008-12-08
2008-12-09
2008-12-10
2008-12-11
2008-12-12
2008-12-13
2008-12-14
2008-12-15
2008-12-16
2008-12-17
2008-12-18
2008-12-19
2008-12-20
2008-12-21
2008-12-22
2008-12-23
2008-12-24
2008-12-25
2008-12-26
2008-12-27
2008-12-28
2008-12-29
2008-12-30
2008-12-31