## Revision Log
2026 New Mexico RFP
Date | Tab | Cell | Description

## Style Guide
El Paso Electric (EPE) RFP Bid Request |  |  | 2026 New Mexico RFP
Prepared in Collaboration with
44 Montgomery Street, Suite 1500
San Francisco, CA 94104
(415) 391-5100
2026-05-18
Instructions
Table of Contents
| Sheet | Description
| 1. Bidder Checklist | Bidder Checklist
| 2. Company Information | Company Information
| 3. Project Information | Project Information
| 3.1 Financial Information | Financial Information
| 4.1 Thermal Tech Details | Thermal Technology Specification Details
| 4.2 Solar Tech Details | Solar Technology Specification Details
| 4.3 Wind Tech Details | Wind Technology Specification Details
| 4.4 Storage Tech Details | Battery Energy Storage Technology Specification Details
| 4.5 Generation Profile | Renewable Energy Technology Generation Profile
| 4.6 Fuel Supply | Fuel Supply Specification Details
| 4.7 Emissions | Emissions Details
| 4.8 Interconnection Details | Interconnection Details
| 5.1 PPA-ESA Bid Pricing | Power Purchase Agreement Bid Pricing Details
| 5.2 Ownership Bid Pricing | Company Ownership Bid Pricing Details
Cell Style Legend
Cells in this spreadsheet are color-coded to indicate intent:
User Inputs
Dropdown User Inputs
Calculations (DO NOT EDIT)
Fixed Values (DO NOT EDIT)
Bidder Input N/A (DO NOT INPUT DATA)
Table Headers
Table Sub-Headers
Table Index (Row Descriptions)
Tab Style Legend
Cells in this spreadsheet are color-coded to indicate bid input categories:
Notice of Intent
Company and Project Information
Project Specifications
Pricing Information
Input Ranges

## 1. Bidder Checklist
Form 1 Bidder Checklist |  | 2026 New Mexico RFP
Bidder Form Checklist | Form Tab | Completed? (Yes/No/NA)
Company Information | 2. Company Information
Project Information | 3. Project Information
Financial Information | 3.1 Financial Information
Primary Technology Details | N/A
Secondary Technology Details | N/A
Pricing | N/A
Interconnection | 4.8 Interconnection Details
Other Tabs
Bidder Attachments Checklist | Attachment Name | Completed? (Yes/No/NA)
Site Control Documentation (e.g., lease, option to lease, purchase agreement) | Attachment_A
Permitting Documentation (e.g., environmental, local, State) | Attachment_B
Environmental Reports or Studies | Attachment_C
Project Schedule Gantt Chart | Attachment_D
Site Map and System Layout | Attachment_E
Technology Specification Sheets (e.g., PV modules, inverters, turbines, batteries) | Attachment_F
O&M Manual, Schedule, Contract Terms, and Manufacturer Warranty Documentation | Attachment_G
Interconnection Agreement or Queue Position Documentation | Attachment_H
LGIA Waiver or Authorization for EPE Access | Attachment_I
Fuel Supply Agreements | Attachment_J
Third-Party Certified Energy Yield Assessment (e.g., report from DNV, UL, etc.) | Attachment_K
Legal Entity and Ownership Structure Disclosure | Attachment_L
Pro Forma Financials and Tax Equity Documentation | Attachment_M
Tax Credit Eligibility Summary (e.g., ITC/PTC assumptions, bonus credits, compliance methods) | Attachment_N
Bidder Redlines/Exceptions to Form of PPA and ESA | Attachment_O
Positive Sequence Load Flow Power Flow Models and/or Oneline Diagrams | Attachment_P

## 2. Company Information
Form 2 Company Information | 2026 New Mexico RFP
General Information | Details / Response
Company Information
Legal Company Name
Legal Strucutre (e.g., Corporation, LLC)
Federal Tax ID / EIN
Company Website
Company Business Address (street, city, state, zip)
Company ID (Provided by EPE upon receipt of NOI)
Date Form Completed
Parent Company (if applicable)
Primary Bidder Contact Information
Authorized Company Representative Name*
Title
Mailing Address
Phone Number
Email
Signature
Secondary Bidder Contact Information
Authorized Company Representative Name
Title
Mailing Address
Phone Number
Email
Signature
This signature ceritifies that all pricing herein is inclusive of all associated costs.
*The bidder acknowledges and warrants that the authorized company representatives identified herein are duly authorized to enter into contractual agreements regarding this proposal and will adhere to the confidentiality stipulations detailed in the Request for Proposal.

## 3. Project Information
Form 3 Project Information | 2026 New Mexico RFP |  | Note: Please identify any additional proposals the bidder has submitted that are mutually exclusive to this proposal (only one proposed project can be selected). For example, if this proposal differs from another proposal only by COD, configuration (stand alone solar vs hybrid solar + storage), nameplate capacity, etc.
Project Information | Details / Response |  | Mutually Exclusive Proposal IDs | Details / Response
Project Name |  |  | Proposal ID
Proposal ID (Provided by EPE upon receipt of NOI) |  |  | Proposal ID
Combined Company & Proposal ID |  |  | Proposal ID
Project Status |  | <-- Select One | Proposal ID
Ownership / Contract Structure |  | <-- Select One | Proposal ID
PPA / ESA Type |  | <-- Select One | Proposal ID
Ownership Type |  | <-- Select One | Proposal ID
Approximate Site Acreage / Footprint (acres) |  |  | Proposal ID
Is this project Mutually Exclusive? |  | <-- Select Yes or No | Proposal ID
Proposal ID
Project Location and Interconnection | Details / Response |  | Proposal ID
City |  |  | Proposal ID
County |  |  | Proposal ID
State |  |  | Proposal ID
Latitude (decimal degrees) |  | Please enter a decilmal value between 24 and 50 | Proposal ID
Longitude (decimal degrees) |  | Please enter a decilmal value between -128 and -64 | Proposal ID
Utility Providing Retail Service at Project Location |  |  | Proposal ID
Point of Interconnection (POI) Name / Substation |  |  | Proposal ID
Interconnection Voltage Level (kV) |  |  | Proposal ID
Proposal ID
Note: To streamline reporting, EPE requests that hybrid projects list the co-located resource (e.g., solar) as the primary technology and the battery energy storage component as the secondary project.
Primary Project Technology Details | Details / Response
Technology Type 1 |  | <-- Select One
Nameplate Capacity (MWac)
Storage Duration (hours)
Commercial Operation Date or PPA / ESA Start Date (mm/dd/yyyy)
PPA / ESA Term or Expected Service Life (years)
First Year PPA Cost per Technology Excluding Transmission Network Upgrades ($/MWh)
First Year PPA Cost per Technology Including Transmission Network Upgrades ($/MWh)
First Year ESA Cost per Technology Excluding Transmission Network Upgrades ($/kW-mo)
First Year ESA Cost per Technology Including Transmission Network Upgrades ($/kW-mo)
Total Installed Cost Excluding Transmission Network Upgrades ($)
Total Installed Cost Including Transmission Network Upgrades ($)
Total Installed Cost Excluding Transmission Network Upgrades ($/kW)
Total Installed Cost Including Transmission Network Upgrades ($/kW)
First Full Year - Expected Generation P50 (MWh)
First Full Year - Capacity Factor P50 (%)
Secondary Project Technology Details (if applicable) | Details / Response
Technology Type 2 |  | <-- Select One
Nameplate Capacity (MWac)
Storage Duration (hours)
Commercial Operation Date or PPA / ESA Start Date (mm/dd/yyyy)
PPA / ESA Term or Expected Service Life (years)
First Year PPA Cost per Technology Excluding Transmission Network Upgrades ($/MWh)
First Year PPA Cost per Technology Including Transmission Network Upgrades ($/MWh)
First Year ESA Cost per Technology Excluding Transmission Network Upgrades ($/kW-mo)
First Year ESA Cost per Technology Including Transmission Network Upgrades ($/kW-mo)
Total Installed Cost Excluding Transmission Network Upgrades ($)
Total Installed Cost Including Transmission Network Upgrades ($)
Total Installed Cost Excluding Transmission Network Upgrades ($/kW)
Total Installed Cost Including Transmission Network Upgrades ($/kW)
First Full Year - Expected Generation P50 (MWh)
First Full Year - Capacity Factor P50 (%)

## 3.1 Financial Information
Form 3.1 Financial Information and Terms | 2026 New Mexico RFP
Project Information | Details / Response
Bid Security/Guarantee - Amount (e.g., $500,000)
Bid Security/Guarantee -Type (e.g., Bid Bond, Letter of Credit)
Bid Security/Guarantee -Validity period (e.g., 180 days from bid submission date)
Proposed Contract Term (Years)
Payment Terms (e.g., Monthly for capacity, hourly for energy)
Please confirm your proposal meets the following requirement of the RFP, "Following the proposal due date, EPE will only allow pricing reopeners that align specifically with changes to import tariffs or federal legislation (such as tax law)." |  | <-- Select Yes or No | Please select "Yes" or "No" from dropdown menu.
Please confirm your proposal meets the following requirement of the RPF, "Where available, Bidders proposing a long-term PPA or ESA must include a redlined copy of the applicable EPE form of PPA/ESA as a formal attachment. This redline must clearly indicate all proposed changes and serves as a primary basis for project evaluation. Each proposal must be a stand-alone document; EPE will not consider external references, prior agreements, or previous contract versions as a substitute for a completed redline. Any proposal that fails to provide a comprehensive, project-specific redline of the current RFP forms will be deemed non-responsive and incomplete. If the Bidder is proposing a short- term PPA or a PPA for an existing resource, please use the EPE forms as a guide in the bid submittals, understanding that EPE will negotiate with any short-listed Bidder the appropriate modifications to these forms." |  | <-- Select Yes or No | Please select "Yes" or "No" from dropdown menu.
Please confirm that your proposal contains all requirements listed in 7.1.3 of the RFP. |  | <-- Select Yes or No | Please select "Yes" or "No" from dropdown menu.

## 4.1 Thermal Tech Details
Form 4.1 Thermal Technology Details |  |  |  | 2026 New Mexico RFP
General Resource Information | Details / Response
Primary or Secondary Technology
Technology Type and Configuration |  | <-- Select One
Primary Fuel Type
Secondary / Back Up Fuel Type
# of Units
Configuration (if combined cycle) |  | <-- Select One
Nameplate Capacity (MWac)
Turbine Manufacturer 1
Turbine Model # 1
Turbine Manufacturer 2 (if more than one manufacturer)
Turbine Model # 2 (if more than one model number)
Describe the cooling system type (e.g. dry, wet, hybrid)
Describe any inlet cooling technology, if applicable
Estimated Water Consumption (gal/MWh at maximum loading)
Confirm that the facility has an automatic bypass damper system, if a combined cycle proposal, as it is required for combined cycle proposals |  | <-- Select Yes or No
Confirm that the plant be controlled by Automatic Generator Control (AGC), as is required for thermal proposals |  | <-- Select Yes or No
Confirm that the plant provides frequency response in the form of governor response, as is required for thermal proposals |  | <-- Select Yes or No
Total Plant Auxilarly Load at Full Load (MW)
Total Plant Auxilarly Load (% of Gross Output at Full Load)
Electrical Interconnection Point Voltage (kV)
Generator Step-Up Transformer (GSU) Details | Details / Response
Number of GSUs
GSU Manufacturer(s)
GSU MVA Rating (Self-Cooled/Forced-Cooled)
GSU Voltage Ratio (kV)
GSU Losses at Full Load (%)
Outage Information | Turbine Model #1 | Turbine Model #2
Annual Estimated Equivalent Forced Outage Rate (%)
Annual Average Planned Maintenance Requirement (days/year)
Describe Planned Maintenance Schedule (i.e. after X starts or Y hours of runtime)
Key Operating Parameters | Primary Configuration
Maximum Ramp Up Rate (MW/min)
Maximum Ramp Down Rate (MW/min)
Minimum Up Time (minutes)
Minimum Down Time (minutes)
Hot Start to Minimum Load - offline for less than 8 hours (minutes)
Warm Start to Minimum Load - offline for 8 to 48 hours (minutes)
Cold Start - offline for greater than 48 hours (minutes)
Maximum Load Achievable in 10 Minutes (% of Nameplate Capacity)
Maximum Load Achievable in 30 Minutes (% of Nameplate Capacity)
Ambient Conditions | Details / Response
Spring Ambient Conditions Assumed Below (temp/humidity)
Summer Ambient Conditions Assumed Below (temp/humidity)
Fall Ambient Conditions Assumed Below (temp/humidity)
Winter Ambient Conditions Assumed Below (temp/humidity)
Operating Mode Information | Simple Cycle | Simple Cycle | Combined Cycle | Combined Cycle
Spring | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh) | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh)
Minimum Stable Operating Level
25% Operating Point
50% Operating Point
75% Operating Point
Maximum Stable Operating Level (without supplemental duct firing)
Maximum Stable Operating Level (with supplemental duct firing if applicable)
Summer | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh) | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh)
Minimum Stable Operating Level
25% Operating Point
50% Operating Point
75% Operating Point
Maximum Stable Operating Level
Maximum Stable Operating Level (with supplemental duct firing if applicable)
Fall | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh) | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh)
Minimum Stable Operating Level
25% Operating Point
50% Operating Point
75% Operating Point
Maximum Stable Operating Level
Maximum Stable Operating Level (with supplemental duct firing if applicable)
Winter | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh) | Net Capacity (MW) | Average Heat Rate - HHV (Btu/kWh)
Minimum Stable Operating Level
25% Operating Point
50% Operating Point
75% Operating Point
Maximum Stable Operating Level
Maximum Stable Operating Level (with supplemental duct firing if applicable)

## 4.2 Solar Tech Details
Form 4.2 Solar Technology Details | 2026 New Mexico RFP
Plant Information | Details / Response
Primary or Secondary Technology
Nameplate Capacity (MWac)
Nameplate Capacity (MWdc)
Solar DC:AC Ratio (at Inverter) (# : #)
First Full Year - P50 Net Production (MWh)
Year 10 (P50) Net Production (MWh)
Year 20 (P50) Net Production (MWh)
First Full Year - P50 Capacity Factor (%) (Based on nameplate)
First Full Year - P90 Net Production (MWh)
First Full Year - P90 Capacity Factor (%) (Based on nameplate)
Solar Estimated Land Area (acres)
Solar Ground Coverage Ratio (%)
Expected Annual Curtailment Due to Grid Constraints (MWh/year)
Primary Grid Interconnection Voltage (kV)
System Availability Guarantee (%)
Module Information | Details / Response
Module Manufacturer
Module Model Number
Module Type |  | <-- Select One
Module Type, if other please specify
Nominal Rating (Wp)
Module Quantity
Module Performance Warranty (Years)
Degradation Rate (First Year) (%)
Annual Degradation Rate (i.e., compound annual degradation rate (%)
Expected Module Lifespan (Years)
Inverter Information | Details / Response
Inverter Manufacturer
Inverter Module Number
Inverter Type |  | <-- Select One
Inverter Type, if other please specify
Inverter AC Capacity (kW) (Per unit)
Inverter Quantity
Inverter Peak Efficiency (%)
Inverter CEC Weighted Efficiency (%)
Does the inverter have grid forming capability? |  | <-- Select Yes or No
If Yes, briefly describe capabilities e.g., Black Start, Inertia Support, Fast Frequency Response
Inverter Warranty (Years)
Expected Inverter Lifespan (Years)
Racking / Mounting System Information | Details / Response
Racking/Mounting System Manufacturer
Racking/Mounting System Type |  | <-- Select One
Racking/Mounting System, if other, please specify
Racking/Mounting System Material:
Tilt Angle (for fixed-tilt) / Tracking Algorithm Description (for trackers)
Module Orientation |  | <-- Select One
Ground Clearance (Lowest Point): (feet)
Wind Load Design (psf)
Snow Load Design (psf)
Corrosion Protection Method(e.g., Hot-Dip Galvanized, Anodized Aluminum)
Foundation Type (e.g., Piles, Ballasted, Ground Screw)
MAIN POWER TRANSFORMER (MPT) DETAILS | Details / Response
Collector System Voltage (kV)
MPT Manufacturer(s)
MPT MVA Rating (Self-Cooled/Forced-Cooled)
MPT Voltage Ratio (kV)
MPT Losses at Full Load (%)
MPT Cooling Type

## 4.3 Wind Tech Details
Form 4.3 Wind Technology Details | 2026 New Mexico RFP
Project Information | Details / Response
Primary or Secondary Technology
Nameplate Capacity (MWac)
First Full Year - P50 Net Production (MWh)
Year 10 (P50) Net Production (MWh)
Year 20 (P50) Net Production (MWh)
First Full Year - P50 Capacity Factor (%) (Based on nameplate)
First Full Year - P90 Net Production (MWh)
First Full Year - P90 Capacity Factor (%) (Based on nameplate)
Expected Annual Curtailment Due to Grid Constraints (MWh/year)
Primary Grid Interconnection Voltage (kV)
System Availability Guarantee (%)
Turbine Information | Details / Response
Wind Turbine Manufacturer
Wind Turbine Model
Wind Turbine Nameplate Ouptut (MWac)
Number of Wind Turbines
Hub Height (meters)
Rotor Diameter (meters)
Cut-in Wind Speed (m/s)
Rated Wind Speed (m/s)
Cut-Out Wind Speed (m/s)
Power Cuve (attach)
Plant Information | Details / Response
Wind Estimated Land Area (acres)
Average Wind Speed at proposed hub height (m/s)
MAIN POWER TRANSFORMER (MPT) DETAILS | Details / Response
Collector System Voltage (kV)
MPT Manufacturer(s)
MPT MVA Rating (Self-Cooled/Forced-Cooled)
MPT Voltage Ratio (kV)
MPT Losses at Full Load (%)
MPT Cooling Type

## 4.4 Storage Tech Details
Form 4.4 Battery Storage Technology Details | 2026 New Mexico RFP
Battery System Performance Characteristics | Details / Response
Primary or Secondary Technology
Nameplate Capacity (MWac)
Storage Duration (hours)
Guaranteed Rountrip Efficiency (%)
Response Time (seconds)
Expected Capacity Degradation per Year (%/yr)
Expected Mid-Life Replacement, if applicable (e.g, module augmentation)
Guaranteed Availability Percentage
Guaranteed Maximum Annual Throughput (MWh)
Maximum Cycles per Year (# cycles)
Planned Cycles per Year
Guaranteed Lifetime Number of Cycles
System Auxiliary Load (at full charge/discharge, kW)
System Auxiliary Load (% of AC Nameplate Capacity)
Expected Annual Standby (No-Load) Losses (MWh/year)
Primary Grid Interconnection Voltage (kV)
Degradation Info - Fill in table at bottom of page
Battery Configuration Information | Details / Response
Battery Cell Manufacturer
Battery Cell Model
Battery Enclosure Manufacturer
Battery Enclosure Model or System Name
Battery Enclosure Capacity Rating (MWh-dc)
Battery Enclosure Quantity
Thermal Management Type
Thermal Management System Manufacturer
System Integrator Name
Guaranteed Monthly Availability (%)
Battery Management System (BMS) Manufacturer & Model
BMS Features (e.g., Cell Balancing, State of Charge (SoC) Estimation, Fault Detection)
Battery Container/Enclosure Type
Overall Dimensions of Enclosure (L x W x H) (m)
Overall Weight of Enclosure (lbs)
Fire Suppression System Type (within enclosure)
Battery Safety Certifications/Standards Met |  | <-- Select Yes or No
Battery Module/Cell Warranty Unit |  | <-- Select One
Battery Module/Cell Warranty (# of years or cycles)
Expected Battery Lifespan (Years)
Power Conversion System (PCS) | Details / Response
PCS Manufacturer
PCS Model
PCS Rated Power (MWac)
PCS Grid Forming Capability |  | <-- Select Yes or No
PCS Quantity
PCS DC Voltage Range (Vdc) (Operating voltage range for battery connection)
PCS AC Voltage (V) (Voltage on the AC side of the PCS before main step-up)
Peak PCS Efficiency (Distinguish from system roundtrip efficiency) (%)
Weighted PCS Efficiency (Distinguish from system roundtrip efficiency) (%)
PCS Overload Capability (AC or DC) (e.g., 1.2x continuous, 1.5x for 10s)
PCS Low Voltage Ride Through (LVRT) Capability (Describe adherence to grid code requirements)
PCS High Voltage Ride Through (HVRT) Capability (Describe adherence to grid code requirements)
PCS Reactive Power Capability (Power Factor Range) (e.g., 0.8 leading to 0.8 lagging)
PCS Warranty (Years)
Expected PCS Lifespan (Years)
PCS Cooling Type (e.g., Air-cooled, Liquid-cooled)
MAIN POWER TRANSFORMER (MPT) DETAILS | Details / Response
Collector System Voltage (kV)
MPT Manufacturer(s)
MPT MVA Rating (Self-Cooled/Forced-Cooled)
MPT Voltage Ratio (kV)
MPT Losses at Full Load (%)
MPT Cooling Type
Values in the table below should include the effects of both degradation and augmentation.
Degradation Info | Details / Response
Year | Capacity (MW) | RTE (%)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 4.5 Generation Profile
Form 4.5 Generation Profile | [15 empty] | 2026 New Mexico RFP
Note: Production profiles provided should be certified by a third party. All losses should be reflected in the profile and profiles should be AC. Hybrid projects shall separate renewable generation from storage charging/discharging.
Primary Technology Estimated Annual Energy Production (MWh) | [5 empty] | Secondary Technology Estimated Annual Energy Production (MWh)
Commercial Operation Year | P50 Production (MWh) | P90 Production (MWh) |  |  |  | Commercial Operation Year | P50 Production (MWh) | P90 Production (MWh) |  | Please describe any potential energy limitations
1 | 0 |  |  |  |  | 1 | 0
2 | [5 empty] | 2
3 | [5 empty] | 3
4 | [5 empty] | 4
5 | [5 empty] | 5
6 | [5 empty] | 6
7 | [5 empty] | 7
8 | [5 empty] | 8
9 | [5 empty] | 9
10 | [5 empty] | 10
11 | [5 empty] | 11
12 | [5 empty] | 12
13 | [5 empty] | 13
14 | [5 empty] | 14
15 | [5 empty] | 15
16 | [5 empty] | 16
17 | [5 empty] | 17
18 | [5 empty] | 18
19 | [5 empty] | 19
20 | [5 empty] | 20
21 | [5 empty] | 21
22 | [5 empty] | 22
23 | [5 empty] | 23
24 | [5 empty] | 24
25 | [5 empty] | 25
26 | [5 empty] | 26
27 | [5 empty] | 27
28 | [5 empty] | 28
29 | [5 empty] | 29
30 | [5 empty] | 30
31 | [5 empty] | 31
32 | [5 empty] | 32
33 | [5 empty] | 33
34 | [5 empty] | 34
35 | [5 empty] | 35
36 | [5 empty] | 36
37 | [5 empty] | 37
38 | [5 empty] | 38
39 | [5 empty] | 39
40 | [5 empty] | 40
Inputs for Secondary Technology Estimated Hourly Generation - P50 (MWh) in Column AB --->
Primary Technology Estimated First Year Hourly Generation - P50 (MWh) | [5 empty] | Profile Total (MWh) | 0 | [17 empty] | Secondary Technology Estimated Hourly Generation - P50 (MWh) | [5 empty] | Profile Total (MWh) | 0
Day | Hour | [23 empty] | Day | Hour
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | [24 empty] | 1
2 | [24 empty] | 2
3 | [24 empty] | 3
4 | [24 empty] | 4
5 | [24 empty] | 5
6 | [24 empty] | 6
7 | [24 empty] | 7
8 | [24 empty] | 8
9 | [24 empty] | 9
10 | [24 empty] | 10
11 | [24 empty] | 11
12 | [24 empty] | 12
13 | [24 empty] | 13
14 | [24 empty] | 14
15 | [24 empty] | 15
16 | [24 empty] | 16
17 | [24 empty] | 17
18 | [24 empty] | 18
19 | [24 empty] | 19
20 | [24 empty] | 20
21 | [24 empty] | 21
22 | [24 empty] | 22
23 | [24 empty] | 23
24 | [24 empty] | 24
25 | [24 empty] | 25
26 | [24 empty] | 26
27 | [24 empty] | 27
28 | [24 empty] | 28
29 | [24 empty] | 29
30 | [24 empty] | 30
31 | [24 empty] | 31
32 | [24 empty] | 32
33 | [24 empty] | 33
34 | [24 empty] | 34
35 | [24 empty] | 35
36 | [24 empty] | 36
37 | [24 empty] | 37
38 | [24 empty] | 38
39 | [24 empty] | 39
40 | [24 empty] | 40
41 | [24 empty] | 41
42 | [24 empty] | 42
43 | [24 empty] | 43
44 | [24 empty] | 44
45 | [24 empty] | 45
46 | [24 empty] | 46
47 | [24 empty] | 47
48 | [24 empty] | 48
49 | [24 empty] | 49
50 | [24 empty] | 50
51 | [24 empty] | 51
52 | [24 empty] | 52
53 | [24 empty] | 53
54 | [24 empty] | 54
55 | [24 empty] | 55
56 | [24 empty] | 56
57 | [24 empty] | 57
58 | [24 empty] | 58
59 | [24 empty] | 59
60 | [24 empty] | 60
61 | [24 empty] | 61
62 | [24 empty] | 62
63 | [24 empty] | 63
64 | [24 empty] | 64
65 | [24 empty] | 65
66 | [24 empty] | 66
67 | [24 empty] | 67
68 | [24 empty] | 68
69 | [24 empty] | 69
70 | [24 empty] | 70
71 | [24 empty] | 71
72 | [24 empty] | 72
73 | [24 empty] | 73
74 | [24 empty] | 74
75 | [24 empty] | 75
76 | [24 empty] | 76
77 | [24 empty] | 77
78 | [24 empty] | 78
79 | [24 empty] | 79
80 | [24 empty] | 80
81 | [24 empty] | 81
82 | [24 empty] | 82
83 | [24 empty] | 83
84 | [24 empty] | 84
85 | [24 empty] | 85
86 | [24 empty] | 86
87 | [24 empty] | 87
88 | [24 empty] | 88
89 | [24 empty] | 89
90 | [24 empty] | 90
91 | [24 empty] | 91
92 | [24 empty] | 92
93 | [24 empty] | 93
94 | [24 empty] | 94
95 | [24 empty] | 95
96 | [24 empty] | 96
97 | [24 empty] | 97
98 | [24 empty] | 98
99 | [24 empty] | 99
100 | [24 empty] | 100
101 | [24 empty] | 101
102 | [24 empty] | 102
103 | [24 empty] | 103
104 | [24 empty] | 104
105 | [24 empty] | 105
106 | [24 empty] | 106
107 | [24 empty] | 107
108 | [24 empty] | 108
109 | [24 empty] | 109
110 | [24 empty] | 110
111 | [24 empty] | 111
112 | [24 empty] | 112
113 | [24 empty] | 113
114 | [24 empty] | 114
115 | [24 empty] | 115
116 | [24 empty] | 116
117 | [24 empty] | 117
118 | [24 empty] | 118
119 | [24 empty] | 119
120 | [24 empty] | 120
121 | [24 empty] | 121
122 | [24 empty] | 122
123 | [24 empty] | 123
124 | [24 empty] | 124
125 | [24 empty] | 125
126 | [24 empty] | 126
127 | [24 empty] | 127
128 | [24 empty] | 128
129 | [24 empty] | 129
130 | [24 empty] | 130
131 | [24 empty] | 131
132 | [24 empty] | 132
133 | [24 empty] | 133
134 | [24 empty] | 134
135 | [24 empty] | 135
136 | [24 empty] | 136
137 | [24 empty] | 137
138 | [24 empty] | 138
139 | [24 empty] | 139
140 | [24 empty] | 140
141 | [24 empty] | 141
142 | [24 empty] | 142
143 | [24 empty] | 143
144 | [24 empty] | 144
145 | [24 empty] | 145
146 | [24 empty] | 146
147 | [24 empty] | 147
148 | [24 empty] | 148
149 | [24 empty] | 149
150 | [24 empty] | 150
151 | [24 empty] | 151
152 | [24 empty] | 152
153 | [24 empty] | 153
154 | [24 empty] | 154
155 | [24 empty] | 155
156 | [24 empty] | 156
157 | [24 empty] | 157
158 | [24 empty] | 158
159 | [24 empty] | 159
160 | [24 empty] | 160
161 | [24 empty] | 161
162 | [24 empty] | 162
163 | [24 empty] | 163
164 | [24 empty] | 164
165 | [24 empty] | 165
166 | [24 empty] | 166
167 | [24 empty] | 167
168 | [24 empty] | 168
169 | [24 empty] | 169
170 | [24 empty] | 170
171 | [24 empty] | 171
172 | [24 empty] | 172
173 | [24 empty] | 173
174 | [24 empty] | 174
175 | [24 empty] | 175
176 | [24 empty] | 176
177 | [24 empty] | 177
178 | [24 empty] | 178
179 | [24 empty] | 179
180 | [24 empty] | 180
181 | [24 empty] | 181
182 | [24 empty] | 182
183 | [24 empty] | 183
184 | [24 empty] | 184
185 | [24 empty] | 185
186 | [24 empty] | 186
187 | [24 empty] | 187
188 | [24 empty] | 188
189 | [24 empty] | 189
190 | [24 empty] | 190
191 | [24 empty] | 191
192 | [24 empty] | 192
193 | [24 empty] | 193
194 | [24 empty] | 194
195 | [24 empty] | 195
196 | [24 empty] | 196
197 | [24 empty] | 197
198 | [24 empty] | 198
199 | [24 empty] | 199
200 | [24 empty] | 200
201 | [24 empty] | 201
202 | [24 empty] | 202
203 | [24 empty] | 203
204 | [24 empty] | 204
205 | [24 empty] | 205
206 | [24 empty] | 206
207 | [24 empty] | 207
208 | [24 empty] | 208
209 | [24 empty] | 209
210 | [24 empty] | 210
211 | [24 empty] | 211
212 | [24 empty] | 212
213 | [24 empty] | 213
214 | [24 empty] | 214
215 | [24 empty] | 215
216 | [24 empty] | 216
217 | [24 empty] | 217
218 | [24 empty] | 218
219 | [24 empty] | 219
220 | [24 empty] | 220
221 | [24 empty] | 221
222 | [24 empty] | 222
223 | [24 empty] | 223
224 | [24 empty] | 224
225 | [24 empty] | 225
226 | [24 empty] | 226
227 | [24 empty] | 227
228 | [24 empty] | 228
229 | [24 empty] | 229
230 | [24 empty] | 230
231 | [24 empty] | 231
232 | [24 empty] | 232
233 | [24 empty] | 233
234 | [24 empty] | 234
235 | [24 empty] | 235
236 | [24 empty] | 236
237 | [24 empty] | 237
238 | [24 empty] | 238
239 | [24 empty] | 239
240 | [24 empty] | 240
241 | [24 empty] | 241
242 | [24 empty] | 242
243 | [24 empty] | 243
244 | [24 empty] | 244
245 | [24 empty] | 245
246 | [24 empty] | 246
247 | [24 empty] | 247
248 | [24 empty] | 248
249 | [24 empty] | 249
250 | [24 empty] | 250
251 | [24 empty] | 251
252 | [24 empty] | 252
253 | [24 empty] | 253
254 | [24 empty] | 254
255 | [24 empty] | 255
256 | [24 empty] | 256
257 | [24 empty] | 257
258 | [24 empty] | 258
259 | [24 empty] | 259
260 | [24 empty] | 260
261 | [24 empty] | 261
262 | [24 empty] | 262
263 | [24 empty] | 263
264 | [24 empty] | 264
265 | [24 empty] | 265
266 | [24 empty] | 266
267 | [24 empty] | 267
268 | [24 empty] | 268
269 | [24 empty] | 269
270 | [24 empty] | 270
271 | [24 empty] | 271
272 | [24 empty] | 272
273 | [24 empty] | 273
274 | [24 empty] | 274
275 | [24 empty] | 275
276 | [24 empty] | 276
277 | [24 empty] | 277
278 | [24 empty] | 278
279 | [24 empty] | 279
280 | [24 empty] | 280
281 | [24 empty] | 281
282 | [24 empty] | 282
283 | [24 empty] | 283
284 | [24 empty] | 284
285 | [24 empty] | 285
286 | [24 empty] | 286
287 | [24 empty] | 287
288 | [24 empty] | 288
289 | [24 empty] | 289
290 | [24 empty] | 290
291 | [24 empty] | 291
292 | [24 empty] | 292
293 | [24 empty] | 293
294 | [24 empty] | 294
295 | [24 empty] | 295
296 | [24 empty] | 296
297 | [24 empty] | 297
298 | [24 empty] | 298
299 | [24 empty] | 299
300 | [24 empty] | 300
301 | [24 empty] | 301
302 | [24 empty] | 302
303 | [24 empty] | 303
304 | [24 empty] | 304
305 | [24 empty] | 305
306 | [24 empty] | 306
307 | [24 empty] | 307
308 | [24 empty] | 308
309 | [24 empty] | 309
310 | [24 empty] | 310
311 | [24 empty] | 311
312 | [24 empty] | 312
313 | [24 empty] | 313
314 | [24 empty] | 314
315 | [24 empty] | 315
316 | [24 empty] | 316
317 | [24 empty] | 317
318 | [24 empty] | 318
319 | [24 empty] | 319
320 | [24 empty] | 320
321 | [24 empty] | 321
322 | [24 empty] | 322
323 | [24 empty] | 323
324 | [24 empty] | 324
325 | [24 empty] | 325
326 | [24 empty] | 326
327 | [24 empty] | 327
328 | [24 empty] | 328
329 | [24 empty] | 329
330 | [24 empty] | 330
331 | [24 empty] | 331
332 | [24 empty] | 332
333 | [24 empty] | 333
334 | [24 empty] | 334
335 | [24 empty] | 335
336 | [24 empty] | 336
337 | [24 empty] | 337
338 | [24 empty] | 338
339 | [24 empty] | 339
340 | [24 empty] | 340
341 | [24 empty] | 341
342 | [24 empty] | 342
343 | [24 empty] | 343
344 | [24 empty] | 344
345 | [24 empty] | 345
346 | [24 empty] | 346
347 | [24 empty] | 347
348 | [24 empty] | 348
349 | [24 empty] | 349
350 | [24 empty] | 350
351 | [24 empty] | 351
352 | [24 empty] | 352
353 | [24 empty] | 353
354 | [24 empty] | 354
355 | [24 empty] | 355
356 | [24 empty] | 356
357 | [24 empty] | 357
358 | [24 empty] | 358
359 | [24 empty] | 359
360 | [24 empty] | 360
361 | [24 empty] | 361
362 | [24 empty] | 362
363 | [24 empty] | 363
364 | [24 empty] | 364
365 | [24 empty] | 365

## 4.6 Fuel Supply
Form 4.6 Fuel Supply |  |  |  | 2026 New Mexico RFP
Primary Fuel Supply Details | Details / Response
Primary Fuel Type (e.g., Natural Gas)
Primary Fuel Source (e.g., Specific gas basin/pipeline)
Primary Fuel Supplier(s)
Primary Fuel Delivery Method (e.g., Pipeline, Truck, Rail)
Interconnection Point, for gas specifiy pipeline name and interconnection point
On-Site Storage Capacity (gallons)
Equivalent Days of Full-Load Operation (from on-site storage)
Firmness of Supply (e.g., Firm, interruptible)
Secondary / Back-up Fuel Supply Details (if Applicable) | Details / Response
Secondary Fuel Type (e.g., Natural Gas)
Secondary Fuel Source (e.g., local distributor)
Secondary Fuel Suppler(s)
Secondary Fuel Delivery Method (e.g., Truck, pipeline, rail)
On-Site Storage Capacity (gallons)
Equivalent Days of Full-Load Operation (from on-site storage)
Dual Fuel Capable |  | <-- Select Yes or No
Fuel Load Operation on Secondary Fuel |  | <-- Select Yes or No
Time to Switchover to Secondary Fuel (minutes)
Operational Limitations on Secondary Fuel (e.g., Limited run hours/year, reduced output (MW) on secondary fuel)
Natural Gas Specifics (Complete if Natural Gas is Primary or Secondary Fuel) | Details / Response
Minimum Pressure Required at Gas Metering/Interconnection Point (psig)
Maximum Pressure at Gas Metering/Interconnection Point (psig)
Minimum Pressure Required at Plant Burner Tip (psig)
Proposed Interconnection and Metering Point: (Location and details of proposed pipeline interconnection and metering equipment at the Fuel Delivery Point)
Gas Delivery Pressure (psig)
Guaranteed by the Interconnecting Pipeline at the Fuel Delivery Point (MMBtu/day)
Gas Pipeline Name(s)
Natural Gas Quantities | Column1 | Column2
| Spring | Summer | Fall | Winter
Maximum Daily Consumption for Electrical Generation - Primary Fuel (MMBtu/day)
Maximum Hourly Consumption for Electrical Generation - Primary Fuel(MMBtu/hour)
Maximum Daily Consumption for Station Use - Primary Fuel (MMBtu/day)
Maximum Hourly Consumption for Station Use - Primary Fuel (MMBtu/hour)
Start Up Fuel Consmuption Hot Start to Minimum Load - offline for less than 8 hours (MMBtu/Start)
Sart Up Fuel Consumption Warm Start to Minimum Load - offline for 8 to 48 hours (MMBtu/Start)
Start up Fuel Consumption Cold Start - offline for greater than 48 hours (MMBtu/Start)
Optional / Advanced Capabilities | Details / Response
Hydrogen Blending Capability Percentage by Volume (%)
Current Hydrogen Blending (if applicable) (e.g., currently blending at 2% by volume)
Carbon Capture & Sequestration (CCS) Capability |  | <-- Select Yes or No
CCS Capture Rate (%) (if applicable)
CCS Storage Method (if applicable) (e.g., Geologic sequestration, Enhanced Oil Recovery (EOR)
Status of CCS Project (if applicable) |  | <-- Select One, if applicable
Primary Fuel Pricing Specifications | Details / Response
Primary Fuel Pricing Index/Basis: (e.g., Henry Hub, Basis point differential, Specific supply agreement)
Explain the chosen index and its relevance to the proposed fuel source.
Primary Fuel Price Formula: (Provide the full formula for calculating the fuel price over the contract term. Include all components, e.g., commodity, transportation, balancing, and any other fixed or variable charges.) Example: Pt​=(Indext​+Basis)×(1+Escalationt​)+FixedFee
Define all variables used in the formula.
Primary Fuel Fixed Fee/Capacity Charge ($)
Primary Fuel Fixed Fee/Capacity Period |  | <-- Select One
Primary Fuel Fixed Fee/Capacity Rate ($/period)
Primary Fuel Variable Charge: (if applicable, $ per MMBtu)
Primary Fuel Transportation Costs: (Specify how transportation costs are priced - fixed, variable, indexed, etc. Provide detailed breakdown.)
Primary Fuel Delivery Charges/Fees: (Any other charges associated with delivery to site.)
Primary Fuel Imbalance Charges: (Explain how imbalance charges are calculated and if proponent is responsible.)
Primary Fuel Minimum Take-or-Pay/Minimum Volume Commitment: (If applicable, specify volume and associated charges)
Primary Fuel Storage Costs: (If applicable, e.g., on-site storage costs, storage capacity fees)
Secondary Fuel Pricing Specifications | Details / Response
Secondary Fuel Pricing Index/Basis: (If applicable, explain)
Secondary Fuel Price Formula: (If applicable, provide the full formula)
Primary Fuel Fixed Fee/Capacity Charge ($) (if applicable)
Primary Fuel Fixed Fee/Capacity Period (if applicable) |  | <-- Select One, if applicable
Primary Fuel Fixed Fee/Capacity Rate ($/period) (if applicable)
Secondary Fuel Variable Charge: (if applicable, $ per MMBtu)
Secondary Fuel Transportation Costs: (If applicable, breakdown)
Secondary Fuel Delivery Charges/Fees: (If applicable)
Secondary Fuel Imbalance Charges: (If applicable)
Secondary Fuel Minimum Take-or-Pay/Minimum Volume Commitment: (If applicable)
Secondary Fuel Storage Costs: (If applicable)
Additional Fuel Pricing Information | Details / Response
Fuel Hedging Strategy: (Describe any proposed or existing fuel hedging strategies to manage price volatility. Include details on instruments, duration, and counter-parties.)
Fuel Price Sensitivity Analysis: (Describe how the proposed fuel price would react to changes in key underlying indices or market conditions. Provide scenarios.)
Contract Term: (Proposed length of fuel supply contract)

## 4.7 Emissions
Form 4.7 Emissions |  | 2026 New Mexico RFP
Emission Rates at Full Load on Primary Fuel | Simple Cycle Mode (lbs/MMBtu) | Combined Cycle Mode (lbs/MMBtu)
Specify Referenced Conditions for Full Load Emissions
Sulfur Oxides (SOx)
Nitrogen Oxides (NOx) (Post-Control)
Carbon Dioxide (CO2)
Carbon Monoxide (CO)
Volatile Organic Compounds (VOC)
Particulate Matter - PM10
Particulate Matter - PM2.5
Lead (Pb)
Mercury (Hg)
Emission Rates at Full Load on Secondary Fuel | Simple Cycle Mode (lbs/MMBtu) | Combined Cycle Mode (lbs/MMBtu)
Specify Referenced Conditions for Full Load Emissions
Sulfur Oxides (SOx)
Nitrogen Oxides (NOx) (Post-Control)
Carbon Dioxide (CO2)
Carbon Monoxide (CO)
Volatile Organic Compounds (VOC)
Particulate Matter - PM10
Particulate Matter - PM2.5
Lead (Pb)
Mercury (Hg)
Emissions Control Technologies and Compliance | Response/Value
NOx Control Technologies (e.g., Selective Catalytic Reduction)
SOx Control Technology(ies): (e.g., Flue Gas Desulfurization - FGD)
Does the proposed project's emissions meet all applicable federal, state, and local air quality regulations? |  | <-- Select Yes or No
Please briefly describe the basis for compliance (e.g., assumed permit limits, expected performance):

## 4.8 Interconnection Details
Form 4.8 Interconnection Details | 2026 New Mexico RFP
Generator Interconnection Detals | Response/Value
Point of Interconnection (POI) Name or Substation
POI Location (Decimal Degrees)
Is this project at an existing POI (i.e., a surplus interconnection)? |  | <-- Select Yes or No
If yes, what is the maximum injection capacity at the POI? (MW)
If, yes, please state the name of the existing resource behind the POI.
If yes, what is the existing installed capcaity at the POI? (MW)
Voltage Level (kV)
Generator Rated Capacity (MW)
Target Interconnection Date
Expected Commerical Operation Date (COD)
Length of Gen Tie to Point of Interconnection (miles)
Interconnection Configuration (e.g., Radial, Looped)
Study Information | Response/Value
Cluster Study Participation |  | <-- Select Yes or No
If yes, Cluster Study Name/ID
Most Recent Study Type (e.g., System Impact Study, Faclitiites Study)
Most Recent Study Completion Date
Link to Study Report (if applicable)
Does price include a fully executed/costed generator interconnection study performed by EPE? |  | <-- Select Yes or No
Network Upgrade Cost Estimate from EPE study ($)
Does project include a third party/independent study? |  | <-- Select Yes or No
Network Upgrade Cost Estimate from 3rd party study ($)
Network Upgrade Description (Summary)
Wheeling Details (if applicable) | Response/Value
Wheeling Provider (if applicable)
Point of Delivery (POD) (if different from POI)
Wheeling Loss from POI to POD (%)
Wheeling Agreement Status (e.g., Not Started, Under Negotiation, Executed)

## 5.1 PPA-ESA Bid Pricing
Form 5.1 PPA / ESA Bid Pricing | [9 empty] | 2026 New Mexico RFP
Tax Credit Assumptions Included in Pricing | Primary Technology | Secondary Technology
ITC or PTC Assumed In Pricing |  |  | <-- Select One
PTC Rate Included in Pricing if applicable ($/MWh)
ITC Rate Included in Pricing if applicable (%)
Escalation Rate Included in Table Below | Primary Technology | Secondary Technology
Annual Energy Payment Escalation Rate, % if applicable
Annual Capacity Payment Esclation Rate % if applicable
Data pulled from interconnection details tab
Selected Transmission Network Upgrade | Response | Amount ($)
EPE Study | No
Independent/3rd Party | No
|  | If project does NOT include Cluster Study, fill in ONLY Column D |  |  |  |  | If project does NOT include Cluster Study, fill in ONLY Column I
|  | If project includes EPE Cluster Study, fill in ONLY Column E |  |  |  |  | If project includes EPE Cluster Study, fill in ONLY Column J
PPA / ESA Rates - Primary Technology - |  | If project includes Third Party Cluster Study, fill in BOTH Column D and Column E |  |  |  |  | If project includes Third Party Cluster Study, fill in BOTH Column I and Column J
Commercial Operation Year | Expected Annual Energy P50 (Net AC MWh) | Energy Payment Rate - Excluding Transmission Network Upgrades ($/MWh)* | Energy Payment Rate - Including Transmission Network Upgrades ($/MWh) | Total Expected Annual Energy Payment - Excluding Transmission Network Upgrades ($) | Total Expected Annual Energy Payment - Including Transmission Network Upgrades ($) | Capacity (MW) | Capacity Payment Rate - Excluding Transmission Network Upgrades ($/kW-mo) | Capacity Payment Rate - Including Transmission Network Upgrades ($/kW-mo) | Total Expected Capacity Payment Rate - Excluding Transmission Network Upgrades ($) | Total Expected Capacity Payment Rate - Including Transmission Network Upgrades ($)
1 | 0 |  |  | 0 | 0 | 0 |  |  | 0 | 0
2 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
3 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
4 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
5 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
6 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
7 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
8 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
9 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
10 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
11 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
12 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
13 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
14 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
15 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
16 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
17 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
18 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
19 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
20 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
21 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
22 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
23 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
24 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
25 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
26 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
27 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
28 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
29 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
30 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
31 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
32 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
33 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
34 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
35 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
36 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
37 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
38 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
39 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
40 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
*Energy Payment Rate including federal tax incentive.
Start Costs (Per Turbine) | Cost per Start ($) | Estimated Annual Starts (#/Yr) | Total Expected Start Cost Payments
Hot Start to Minimum Load - offline for less than 8 hours (minutes) |  |  | 0
Warm Start to Minimum Load - offline for 8 to 48 hours (minutes) |  |  | 0
Cold Start - offline for greater than 48 hours (minutes) |  |  | 0
Other |  |  | 0
|  | If project does NOT include Cluster Study, fill in ONLY Column D |  |  |  |  | If project does NOT include Cluster Study, fill in ONLY Column I
|  | If project includes EPE Cluster Study, fill in ONLY Column E |  |  |  |  | If project includes EPE Cluster Study, fill in ONLY Column J
PPA / ESA Rates - Secondary Technology - |  | If project includes Third Party Cluster Study, fill in BOTH Column D and Column E |  |  |  |  | If project includes Third Party Cluster Study, fill in BOTH Column I and Column J
Commercial Operation Year | Expected Energy (MWh) | Energy Payment Rate - Excluding Transmission Network Upgrades ($/MWh)* | Energy Payment Rate - Including Transmission Network Upgrades ($/MWh) | Total Expected Annual Energy Payment - Excluding Transmission Network Upgrades ($) | Total Expected Annual Energy Payment - Including Transmission Network Upgrades ($) | Capacity (MW) | Capacity Payment Rate - Excluding Transmission Network Upgrades ($/kW-mo) | Capacity Payment Rate - Including Transmission Network Upgrades ($/kW-mo) | Total Expected Capacity Payment Rate - Excluding Transmission Network Upgrades ($) | Total Expected Capacity Payment Rate - Including Transmission Network Upgrades ($)
1 | 0 |  |  | 0 | 0 | 0 |  |  | 0 | 0
2 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
3 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
4 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
5 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
6 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
7 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
8 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
9 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
10 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
11 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
12 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
13 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
14 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
15 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
16 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
17 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
18 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
19 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
20 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
21 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
22 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
23 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
24 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
25 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
26 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
27 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
28 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
29 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
30 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
31 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
32 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
33 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
34 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
35 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
36 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
37 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
38 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
39 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
40 |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
*Energy Payment Rate including federal tax incentive.
Start Costs (Per Turbine) | Cost per Start ($) | Estimated Annual Starts (#/Yr) | Total Expected Start Cost Payments
Hot Start to Minimum Load - offline for less than 8 hours (minutes) |  |  | 0
Warm Start to Minimum Load - offline for 8 to 48 hours (minutes) |  |  | 0
Cold Start - offline for greater than 48 hours (minutes) |  |  | 0
Other |  |  | 0

## 5.2 Ownership Bid Pricing
Form 5.2 Company Ownership Bid Pricing | [7 empty] | 2026 New Mexico RFP | [8 empty] | 2026 New Mexico RFP
Capacity | Primary Technology | Secondary Technology
Capacity (MWac) | 0 | 0
Capital Costs | Primary Technology | Secondary Technology
Total Overnight Capital Cost ($)
Taxes ($)
Total Overnight Capital Cost ($) | 0 | 0
Total Overnight Capital Cost ($/kW)
Ongoing Cost Calculation Assumptions | Primary Technology | Secondary Technology |  | Selected Transmission Network Upgrade | Response | Amount ($)
Annual Generation (MWh) | 0 | 0 |  | EPE Study | No
Annual Capacity Factor (%) |  |  |  | Independent/3rd Party | No
Included Annual Start Costs ($) - If applicable
Monthly Schedule of Payments - Primary Technology |  |  | Only fill in this column if EPE study or Third Party study is available. Transmission Network Upgrade should reflect 4.8 Interconnection Details | [5 empty] | Monthly Schedule of Payments - Secondary Technology |  |  | Only fill in this column if EPE study or Third Party study is available. Transmission Network Upgrade should reflect 4.8 Interconnection Details
Payment Date (mm/dd/yyyy) | Generation Related Payments ($) | Generator Interconnection Payments ($) | Transmission / Network Upgrade Payments ($) | Fuel Infrastructure Payments ($) | Land Purchase Payments ($) | Other Project Related Payments ($) | Taxes ($) | Total Payments ($) | Payment Date (mm/dd/yyyy) | Generation Related Payments ($) | Generator Interconnection Payments ($) | Transmission / Network Upgrade Payments ($) | Fuel Infrastructure Payments ($) | Land Purchase Payments ($) | Other Project Related Payments ($) | Taxes ($) | Total Payments ($)
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
[8 empty] | 0 | [8 empty] | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Cost Projections Post-COD - Primary Technology | [8 empty] | Annual Cost Projections Post-COD - Secondary Technology
Commercial Operation Year | FOM ($/yr) | Ongoing CapX ($/yr) | VOM ($/MWh) | Fuel Service Charges ($/MMBtu) | Start Cost ($/start) Not Included in FOM or CapX | Other Fixed Costs ($/yr) | Other Variable Costs ($/MWh) |  | Commercial Operation Year | FOM ($/yr) | Ongoing CapX ($/yr) | VOM ($/MWh) | Fuel Service Charges ($/MMBtu) | Start Cost ($/start) Not Included in FOM or CapX | Other Fixed Costs ($/yr) | Other Variable Costs ($/MWh)
1 | [8 empty] | 1
2 | [8 empty] | 2
3 | [8 empty] | 3
4 | [8 empty] | 4
5 | [8 empty] | 5
6 | [8 empty] | 6
7 | [8 empty] | 7
8 | [8 empty] | 8
9 | [8 empty] | 9
10 | [8 empty] | 10
11 | [8 empty] | 11
12 | [8 empty] | 12
13 | [8 empty] | 13
14 | [8 empty] | 14
15 | [8 empty] | 15
16 | [8 empty] | 16
17 | [8 empty] | 17
18 | [8 empty] | 18
19 | [8 empty] | 19
20 | [8 empty] | 20
21 | [8 empty] | 21
22 | [8 empty] | 22
23 | [8 empty] | 23
24 | [8 empty] | 24
25 | [8 empty] | 25
26 | [8 empty] | 26
27 | [8 empty] | 27
28 | [8 empty] | 28
29 | [8 empty] | 29
30 | [8 empty] | 30
31 | [8 empty] | 31
32 | [8 empty] | 32
33 | [8 empty] | 33
34 | [8 empty] | 34
35 | [8 empty] | 35
36 | [8 empty] | 36
37 | [8 empty] | 37
38 | [8 empty] | 38
39 | [8 empty] | 39
40 | [8 empty] | 40

## Input Ranges (hidden)
Input Ranges
[7 empty] | Min | Max
Company Classification |  |  | Operation Type | General Number | Turbine Configuartion | Raw Number | 0 | 10000000000000
Utility (Retail Serving) |  |  | Baseload | 1 | 1x1 | Percent | 0 | 1
Independent Power Producer |  |  | Intermediate | 2 | 2x1 | Small Number | 0 | 100
Small Power Producer | Project Status |  | Peaking | 3 | 3x1 | Neg to Pos | -1000 | 1000
Cogenerator | Development |  | Other | 4 | 4x1 | Days | 0 | 365
Other (if other please explain) | Permitted | PPA Type |  | 5 |  | Neg to Pos Large | -10000000000000 | 10000000000000
| Under Construction | New Project | Project Dispatchability |  |  | Lat. | 24 | 50
Proposal Number | Operational | Existing Project (As-Is) | AGC | Mounting | Mounting Orientation | Long. | -128 | -64
1 |  | Existing Project (Repower) | Fully Dispatchable | Fixed Tilt | One-in Portait (1P) | Generation | 0 | 0
2 |  |  | Partially Dispatchable for Curltailment - Curtailment Dispatch Flexibility | 1-Axis Tracking | Two-in-Portrait (2P) | Period | Battery Units
3 |  |  | Non-dispatchable | 2-Axis Tracking | Two-in-Landscape | Day | Years
[5 empty] | Other (Describe in Notes) | Month | Cycles
Primary Technology | Corresponding Tech Tab |  |  |  |  | Year
Wind | 4.3 Wind Tech Details
Solar | 4.2 Solar Tech Details | ITC vs PTC
Battery Energy Storage | 4.4 Storage Tech Details | ITC | Renewable Resource Type
Thermal | 4.1 Thermal Tech Details | PTC | Solar
Other | Please Contact EPE | None | Wind | Binary
|  |  | Geothermal | Yes | Included
Secondary Technology | Corresponding Tech Tab | Inverter Type | Biomass | No | Excluded
Wind | 4.3 Wind Tech Details | Central | Biogas
Battery Energy Storage | 4.4 Storage Tech Details | String | Hydropower
Thermal | 4.1 Thermal Tech Details |  | Fuel Cells
|  | Ownership Type | Other | Module Type
|  | Self-build |  | Mono-PERC
Proposal Arrangement Type | Corresponding Pricing Tab | Build Transfer Agreement |  | Bifacial
PPA / ESA | 5.1 PPA-ESA Bid Pricing | Asset Purchase Agreement |  | Thin-film
Company Ownership | 5.2 Ownership Bid Pricing | PPA / ESA |  | HJT
PPA / ESA with Transfer Option | 5.1 PPA-ESA Bid Pricing AND 5.2 Ownership Bid Pricing | PPA / ESA with Transfer Option | MWh | TOPCon
|  |  | kWh | Other (specify)
|  |  | Texas | Inverter Type
Thermal Operating Configuration | Thermal Turbine Type |  | New Mexico | Central
Simple Cycle | Frame Gas Turbine |  | Other | String
Combined Cycle | Aeroderivative Gas Turbine |  |  | Other (specify)
| Combined Cycle |  | Renewable Resource
Fuel Types | Reciprocating Engine |  | Grid | Racking Type
Natural Gas | Internal Combustion |  |  | Fixed-Tilt
LNG | Steam Turbine |  | Primary | Single-Axis Tracker
DFO | Other |  | Secondary | Dual-Axis Tracker
LPG | Cooling System Type |  | Tertiary | Other (specify)
Hydrogen | Wet (evaporative)
| Dry (air-cooled) |  |  | Racking Orientation
Backup Fuel Supply Options | Hybrid |  |  | Portrait
On-Site Storage | Inlet |  |  | Landscape
Fuel Delivery
Status of CCS Project (if applicable)
Feasibility Study
Permitting
Under Construction
Operational

## Completeness Check (hidden)
% Complete
1. Bidder Checklist | NA
2. Company Information | 0%
3. Project Information
A | 0%
B | 0%
C | -40%
D
E
3.1 Financial Information
4.1 Thermal Tech Details
4.2 Solar Tech Details
4.3 Wind Tech Details
4.4 Storage Tech Details
4.5 Generation Profile
4.6 Fuel Supply
4.7 Emissions
5.2 Ownership Bid Pricing