## 10.1_Conventional_Disp_INPUTS
10.1 CONVENTIONAL AND DISPATCHABLE RESOURCES
Please provide the following information in Excel format as listed below (where applicable):
General Information
Company:
Generation Technology:
Configuration:
Project Address/Location/State:
Type of Proposal(Build-Transfer/PPA…):
Acreage (acres):
Term of Proposal (Yrs):
Project Available/Expected COD (Mo/Yr):
Asset Life (yrs):
Capacity Factor (%): (If resource has dispatch limitation)
Maximum Net Capacity (MW):
Minimum Net Capactiy (MW):
Guaranteed Heat Rate, HHV (MMBTU/MWh):
I/O Equations:
Maximum Annual Energy (MWh)(1):
Maximun On-Peak Energy (MWh)(1):
Fuel Type:
Back-up/Secondary Fuel Type:
Interconnecting Pipeline
Minimum Downtime
Minimum Uptime
Ramp Rates (MW/minute): |  | Please fill in TABLE 5.
Emissions Rates (lbs/MMBTU and lbs/MWh): |  | Please fill in TABLE 6.
Forced Outage Rate (%):
Build-Transfer Ownership |  |  | TABLES 1-6 ON NEXT SHEET
Overnight Capital Cost ($): |  | Please fill in TABLE 1 for payment detail if applicable.
Tax ($):
Total Overnight Capital Cost ($):
Construction Expenditures (%/yr or $/yr): |  | Please fill in TABLE 2 for per year breakdown detail.
VOM Cost ($/MWh):
FOM Cost ($/kW-yr):
Personnel Requirements (No.):
Estimated Employee Salary ($/yr): |  | (with overheads)
Minor and Major O&M Cost Schedule | Please Complete Table 3 | Please fill in TABLE 3 for minor and major O&M cost schedule.
Maximum Number of Starts per Year (No.):
Combustion Turbine (No.):
Combined-Cycle (No.):
Start-Up Cost ($):
Combustion Turbine Cost ($):
Combined-Cycle ($):
Transmission Charge ($/Year): If a Transmission Rights/Reservation applies and if located outside of EPE's system
Interconnection Fee ($):
PPA
Capacity Charge ($/kW-mo and $/Yr) : |  | Please fill in TABLE 4. | TABLES 1-7 ON NEXT SHEET
Escalation Rate for Capacity Charge (%):
Energy Charge ($/MWh): If to proposal is off index, define proposal. |  | Please fill in TABLE 4.
Escalation Rate for Energy Charge (%):
Provide I/O Equation: If Tolling PPA |  | (simple-cycle and combined-cycle mode - with and without duct-firing if applicable)
NOTES:
(1) First year energy (MWh)

## 10.1.1_Conventional_Disp_TABLES
10.1.1 TABLES FOR CONVENTIONAL AND DISPATCHABLE RESOURCES
Please fill in the following information in Excel format as listed below (where applicable):
TABLE 1. Build-Transfer Ownership Progress Payment Schedule Option
Payment Number | Description of Construction Expenditures ot Milestone | Payment Due Date (i.e. year 1, year 2…) | Percent of Total Construction Cost (%) | Total Cost ($)
1
2
3
4
5
6
7
8
9
10
11
12
NOTE: Total Overnight Capital Cost including AFUDC
TABLE 2. Construction Expenditures
| Ratio (%/yr) | Capital Cost ($/yr)
Year 1
Year 2
Year 3
Year 4
Year 5
NOTE: Overnight Capital Cost
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component/ Maintenance Activity | Cost | Fired Hours | Time Based Frequency | Outage Duration |  | Definitions/Description
TOTAL | 0
NOTE: Please provide the O&M cash flow of operating costs in nominal dollars based on your project's operation, i.e., peaking, intermediate or base load, based on its fired hours per year for the respective outage cycle period.
For Example
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component | Cost | Fired Hours | Frequency | Duration |  | Definitions/Description
CI | 750000 | 24000 | Every two years | 2-weeks |  | Combustion Inspection (“CI”)
HGPI | 1000000 | 48000 | Every two years | 4-weeks |  | Hot Gas Path Inspection (“HGPI”)
MI-GT | 2500000 | 100000 | Every four years | 8-weeks |  | Major Gas Turbine Inspection (“MI-GT”)
MN-ST | 500000 | 32000 | Every 5 years | 3-weeks |  | Minor Steam Turbine Valve Inspection (“MN-ST”)
MI-ST | 2750000 | 64000 | Every 10 years | 12-weeks |  | Major Steam Turbine Inspection (“MI-ST”)
PM | 100000 | --- | Every year | 2-weeks |  | Preventative Maintenance (“PM”) recommended or programmed into the overhaul/maintenance outage schedule and cost
TOTAL | 7600000
NOTE: The O&M cash flow of operating costs is based on combined-cycle mode, intermediate operation, assuming 6,360 fired hours per year, for a 10-year period in nominal dollars.
For Example
TABLE 4: PPA Pricing Arrangement | [5 empty] | TABLE 4: PPA Pricing Arrangement
Bid Synopsis (Example): | [5 empty] | Bid Synopsis (Example):
Bidder is prepared to finance, permit, design, engineer, procure and construct a X1 MW and/or X2 gas-fired generating facility for a term of Y years or Z years | [5 empty] | Bidder is prepared to finance, permit, design, engineer, procure and construct a 320 MW and/or 100 gas-fired generating facility for a term of 20 years or 40 years
| Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr) |  |  |  | Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr)
Project Description | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  | Project Description | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
X1 MW (Option 1) | --- | --- | --- | --- |  | 320 MW (Option 1) | 55 | 50 | --- | ---
| Escalating Pricing PPA Pricing ($/MWh) |  | Escalating Pricing PPA Pricing ($/MWh) |  |  |  | Escalating Pricing PPA Pricing ($/MWh) |  | Escalating Pricing PPA Pricing ($/MWh)
| Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  |  | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
X2 MW (Option 2) | --- | --- | --- | --- |  | 100 MW (Option 2) | 38 | 36 | --- | ---
Escalation Rate | [5 empty] | Escalation Rate
NOTE: Please provide escalation rates (%)
TABLE 5: Ramp Rates
Operation Level | Ramp-Up Rate (MW/min) | Ramp-Down Rate (MW/min)
Minimum Level
Incremental Level 1
Incremental Level 2
Incremental Level 3
Incremental Level 4
Incremental Level 5
NOTE: Provide for each operational mode (i.e. simple cycle, combined cycle, duct firing,….)
TABLE 6. Emission Rates (lbs/MMBTU and lbs/MWh)
| NOx | CO | CO2 | SO2 | PM | PM10 | VOC
lbs/MMBTU
lbs/MWh

## 10.2_Renewables_Inter_INPUTS
10.2 RENEWABLE AND INTERMITTENT RESOURCES
Please provide the following information in Excel format as listed below (where applicable):
Company Name:
Generation Technology:
Project Address/Location (TX/NM):
Acreage (acres):
Date Project Available (Mo/Day/Yr):
Guaranteed Completion Date, EPC (Mo/Day/Yr):
Type of Proposal:
Term of Proposal (Yrs):
RECs (incuded/Excluded):
Inverters UL Certified (Y/N):
Battery Storage Back-Up (Y/N):
Maximum Net Capacity (MW)(1): |  | Please fill in TABLE 1. | TABLES 1-7 ON NEXT SHEET
Maximum Annual Energy (MWh/yr)(1): |  | Please fill in TABLE 2.
Guaranteed Annual Energy (MWh/yr)(1):
Maximum On-Peak Energy (MWh/yr)(1):
Guaranteed On-Peak Energy (MWh/yr)(1):
Yearly PV System Degradation Rate (%):
Battery Storage Capacity (MW): |  | Please fill in TABLE 3.
Battery Degradation Rate (%):
Source for Production Estimates:
Build-Transfer Ownership |  |  | TABLES 1-7 ON NEXT SHEET
Overnight Capital Cost ($): |  | Please fill in TABLE 1 for payment detail if applicable.
Tax ($):
Total Overnight Capital Cost ($):
Construction Expenditures (%/yr or $/yr): |  | Please fill in TABLE 2 for per year breakdown detail.
VOM Price ($/MWh):
FOM Price ($/kW-yr):
Personnel Requirements (No.):
Estimated Employee Salary ($/yr): |  | (with overheads)
Minor and Major O&M Cost Schedule | Please Complete Table 3 | Please fill in TABLE 3 for minor and major O&M cost schedule.
Maximum Number of Starts per Year (No.):
Start-Up Cost ($):
Transmission Charge ($/Year): If Transmission Rights/Reservation If located outside of EPE's system
Interconnection Fee ($):
PPA |  |  | TABLES 1-4 ON NEXT SHEET
Please Complete Table 5 |  | Please fill in TABLE 4.
NOTES:
(1) First year energy (MWh)

## 10.2.1_Renewables_Inter_TABLES
10.2.1 TABLES FOR RENEWABLE AND INTERMITTENT RESOURCES TABLES
Please fill in the following information in Excel format as provided below (where applicable):
TABLE 1. Build-Transfer Ownership Progress Payment Schedule Option
Payment Number | Description of Construction Expenditures ot Milestone | Payment Due Date (i.e. year 1, year 2…) | Percent of Total Construction Cost (%) | Total Cost ($)
1
2
3
4
5
6
7
8
9
10
11
12
NOTE: Total Overnight Capital Cost including AFUDC
TABLE 2. Construction Expenditures
| Ratio (%/yr) | Capital Cost ($/yr)
Year 1
Year 2
Year 3
Year 4
Year 5
NOTE: Overnight Capital Cost
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component/ Maintenance Activity | Cost | Fired Hours | Time Based Frequency | Outage Duration |  | Definitions/Description
TOTAL | 0
NOTE: Please provide the O&M cash flow of operating costs in nominal dollars based on your project's operation, i.e., peaking, intermediate or base load, based on its fired hours per year for the respective outage cycle period.
For Example
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component | Cost | Fired Hours | Frequency | Duration
Inverter Replacement | 750000 | 24000 | Every two years | 2-weeks
Wind Turbine Rebuild | 1000000 | 48000 | Every two years | 4-weeks
Hardware Replacement | 2500000 | 100000 | Every four years | 8-weeks
Back-up Battery Replacement | 500000 | 32000 | Every 5 years | 3-weeks
TOTAL | 4750000
For Example
TABLE 4. PPA Pricing Arrangement | [6 empty] | TABLE 4. PPA Pricing Arrangement
Bid Synopsis (Example): | [6 empty] | Bid Synopsis (Example):
Bidder is prepared to finance, permit, design, engineer, procure and construct a X1 MW…renewable energy generating facility in Y increments for a term of Z years. | [6 empty] | Bidder is prepared to finance, permit, design, engineer, procure and construct a 150 MWAC ground-mounted, single-axis tracking solar energy generating facility in three increments for a term of 20 or 30 years.
|  | Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr) |  |  |  |  | Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr)
Project Description | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  | Project Description | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
| X1 MW | [6 empty] | 50 MW | 50 | 48 | --- | ---
| X2 MW | [6 empty] | 100 MW | 47 | 45 | --- | ---
| X3 MW | [6 empty] | 150 MW | 43 | 41 | --- | ---
|  | Escalating PPA Pricing Energy Charge ($/MWh) |  | Escalating PPA Pricing Capacity Charge ($/MWh) |  |  |  |  | Escalating PPA Pricing Energy Charge ($/MWh) |  | Escalating PPA Pricing Capacity Charge ($/MWh)
Project Description | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  |  | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
| X1 MW | [6 empty] | 50 MW | 40 | 38 | --- | ---
| X2 MW | [6 empty] | 100 MW | 36 | 34 | --- | ---
| X3 MW | [6 empty] | 150 MW | 32 | 30 | --- | ---
Escalation Rate (%): | [6 empty] | Escalation Rate ($):
TABLE 5. Production Profile (MW) (1), (2), (3)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30 1PM-6PM)
For Example
TABLE 5. Production Profile (MW)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0.18907 | 0 | 0.14569 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 4.7334 | 23.199 | 38.6616 | 41.6226 | 31.2715 | 18.9349 | 12.0338 | 0.23334 | 0 | 0
8 | 0 | 15.2348 | 35.0848 | 54.5771 | 60.8652 | 60.5554 | 51.0603 | 46.7722 | 47.9026 | 37.0081 | 24.6072 | 4.4602
9 | 40.7506 | 48.3161 | 52.8562 | 65.6627 | 65.1601 | 65.6559 | 55.5187 | 57.4195 | 60.352 | 51.7316 | 49.1387 | 45.3641
10 | 50.1209 | 54.4903 | 58.241 | 64.6959 | 65.3874 | 68.5877 | 60.4789 | 61.0196 | 62.267 | 55.1107 | 50.7704 | 51.0423
11 | 49.0999 | 53.9025 | 63.5792 | 65.7381 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 55.311 | 49.729 | 48.2119
12 | 46.3323 | 55.0997 | 61.8507 | 68.7057 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 53.7651 | 48.0206 | 44.2825
13 | 45.1161 | 54.6796 | 62.0743 | 67.2835 | 65.6738 | 68.1732 | 66.1323 | 60.6446 | 64.9147 | 52.1825 | 48.4386 | 44.463
14 | 46.8623 | 55.3274 | 62.5978 | 65.5001 | 67.5137 | 69.5026 | 64.6911 | 64.264 | 64.8443 | 57.7967 | 51.4136 | 47.1318
15 | 46.578 | 52.3749 | 60.7207 | 63.4145 | 64.8517 | 66.0982 | 62.5322 | 62.2006 | 62.0794 | 56.565 | 52.8518 | 41.5085
16 | 43.2767 | 43.5942 | 55.807 | 62.403 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 55.3013 | 45.0621 | 38.8351
17 | 19.3212 | 29.2345 | 45.8406 | 49.745 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 25.6756 | 11.0578 | 8.4485
18 | 0.011837 | 2.711 | 14.6497 | 24.159 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 0.40762 | 0 | 0
19 | 0 | 0 | 0.038535 | 0.27333 | 4.2453 | 7.424 | 8.9443 | 1.2235 | 0.24215 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/day | 387.4699 | 464.9651 | 578.0738 | 675.3569 | 746.5169 | 775.49 | 684.6083 | 675.3802 | 679.1874 | 501.0884 | 431.09 | 373.748
Total On-Peak MWh | 0 | 0 | 0 | 0 | 380.1292 | 393.8365 | 351.2945 | 361.4145 | 367.4661 | 0 | 0 | 0
Total MWh/yr | Jan: 212206.2053
Total On-Peak MWh | Jan: 56717.0625
TABLE 6. Annual Production and Degradation
Year | Jan: Maximum Degradation (%); Feb: Maximum Annual Energy (MWh/yr); Mar: Guaranteed Annual Energy (MWh/yr); Apr: Maximum On-Peak Energy (MWh/yr); May: Guaranteed On-Peak Energy (MWh/yr)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TABLE 7: Monthly Energy Summary (Solar PV/Wind with Storage Option)
Month
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTAL
Net PV/Wind Generation Delivered to Grid (MWh)
Average Daily Net PV/Wind Generation (MWh/day)
Peak PV/Wind Capacity Delivered to Grid (MW)
Battery Energy Delivered to Grid (MWh)
PV/Wind Generation Used to Charge Battery (MWh)
Grid Power Used to Charge Battery (MWh)

## 10.3_Load_Mgmt
10.3 LOAD MANAGEMENT RESOURCES
Please provide the following information in Excel format as listed below (where applicable):
Program Type: |  |  | Demand Response/Load Curtailment/Direct Load Control
Location (TX/NM):
Program Delivery Period (Mo/Yr):
Type of Proposal:
Term of Proposal (Yrs):
Number of Customers (No.):
Control Interface Type:
Type of Automation Infrastructure:
Qualifies for Non-Spinning Reserves (Y/N):
Number of Hours (hrs/yr):
Maximum Annual Energy (MWh):
Program Cost ($):
Escalation Rate (%):
Number of Events (No./year):
Frequency of Events (No./month):
Duration of Event (min or hrs)
AGC/Dispatchability (Y/N):
Dispatchable Capacity Amount (MW):
Dispatchable Availability (1):
Response Time (min)(2):
Demand Charge ($/kW-yr):
Number of Sites (No.):
Program Implementation Fee ($)(3):
Per Site Enablement Fee ($)(3):
Per Site Recruiting Fee ($)(3):
Annual Technolgy License Fee ($)(4):
Annual per Site Enrolled Fee ($)(4):
Customer Incentive ($/MWh)(4):
Pricing Option: Hardware and Services Charge ($/kW)(5):
NOTES:
(1) For example, available for dispatch 24 hours per day, seven days per week, year-round
(2) For example, will provide notification and automated load control services within 10-15 minutes of EPE dispatch
(3) Upfront costs
(4) Recurring costs
(5) This is for a different arrangement where Bidder would build and manage the resource (manage all equipment and maintence)
only and EPE would responsible for setting program parameters and customer incentives that best meet system needs.
Additional Information Requests:
(1) Please provide all costs. Itemize costs and include breakout of program implementation costs, licenses, marketing and admin expenses.
(2) Please provide a description of all maintanance and service plans and associated costs fo the program.
(3) Please provide a project schedule including major milestones.
Build-Transfer Ownership
Overnight Capital Cost ($):
Tax ($):
Total Overnight Capital Cost ($):
Construction Expenditures (%/yr or $/yr):
VOM Price ($/MWh):
FOM Price ($/kW-yr):
Personnel Requirements (No.):
Estimated Employee Salary ($/yr): |  | (with overheads)
Minor and Major O&M Cost Schedule | If applicable, provide details.
Maximum Number of Starts per Year (No.):
Start-Up Cost ($):
Transmission Charge ($/Year): If Transmission Rights/Reservation If located outside of EPE's system
Interconnection Fee ($):
PPA
Capacity Charge ($/kW-mo and $/Yr) :
Escalation Rate for Capacity Charge (%):
Energy Charge ($/MWh): If to proposal is off index, define proposal.
Escalation Rate for Energy Charge (%):

## 10.3.1_Load_Mgmt_TABLES
10.3.1 LOAD MANAGEMENT RESOURCES
Please fill in the following information in Excel format as provided below (where applicable):
TABLE 1. Production Profile (MW) (1), (2),
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) First year energy (MWh)
(2) On-Peak (May 1-Sept 30 11AM-4PM)
For Example
TABLE 1. Production Profile (MW)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 15.2348 | 35.0848 | 54.5771 | 60.8652 | 60.5554 | 51.0603 | 46.7722 | 47.9026 | 37.0081 | 24.6072 | 4.4602
9 | 40.7506 | 48.3161 | 52.8562 | 65.6627 | 65.1601 | 65.6559 | 55.5187 | 57.4195 | 60.352 | 51.7316 | 49.1387 | 45.3641
10 | 50.1209 | 54.4903 | 58.241 | 64.6959 | 65.3874 | 68.5877 | 60.4789 | 61.0196 | 62.267 | 55.1107 | 50.7704 | 51.0423
11 | 49.0999 | 53.9025 | 63.5792 | 65.7381 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 55.311 | 49.729 | 48.2119
12 | 46.3323 | 55.0997 | 61.8507 | 68.7057 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 53.7651 | 48.0206 | 44.2825
13 | 45.1161 | 54.6796 | 62.0743 | 67.2835 | 65.6738 | 68.1732 | 66.1323 | 60.6446 | 64.9147 | 52.1825 | 48.4386 | 44.463
14 | 46.8623 | 55.3274 | 62.5978 | 65.5001 | 67.5137 | 69.5026 | 64.6911 | 64.264 | 64.8443 | 57.7967 | 51.4136 | 47.1318
15 | 46.578 | 52.3749 | 60.7207 | 63.4145 | 64.8517 | 66.0982 | 62.5322 | 62.2006 | 62.0794 | 56.565 | 52.8518 | 41.5085
16 | 43.2767 | 43.5942 | 55.807 | 62.403 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 55.3013 | 45.0621 | 38.8351
17 | 19.3212 | 29.2345 | 45.8406 | 49.745 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 25.6756 | 11.0578 | 8.4485
18 | 0.011837 | 2.711 | 14.6497 | 24.159 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 0.40762 | 0 | 0
19 | 0 | 0 | 0.038535 | 0.27333 | 4.2453 | 7.424 | 8.9443 | 1.2235 | 0.24215 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/day | 387.4699 | 464.9651 | 573.3404 | 652.1579 | 707.6663 | 733.8675 | 653.1911 | 656.4453 | 667.1537 | 500.8551 | 431.09 | 373.748
Total On-Peak MWh | 0 | 0 | 0 | 0 | 380.1292 | 393.8365 | 351.2945 | 361.4145 | 367.4661 | 0 | 0 | 0
Total MWh/yr | Jan: 206981.2906
Total On-Peak MWh | Jan: 56717.0625

## 10.4_Energy_Storage
10.4 ENERGY STORAGE
Please provide the following information in Excel format as listed below (where applicable):
Company Name:
Storage Technology Type:
Project Address/State:
Date Project Available (Mo/Day/Yr):
Guaranteed Completion Date, EPC (Mo/Day/Yr):
Type of Proposal(Build-Transfer/PPA…):
Term of Proposal (Yrs):
Net Output Capacity (MW):
Energy Output per Cycle - Full Discharge or Minimum Recommended Level (MWh):
Response Time to Full Output (MW/Unit Time)
Nominal Roundtrip Efficiency (%):
Expected Life of System (yrs):
Discharge/Recharge Cycles (No./yr):
Degradation Rate (%/yr):
Guaranteed Annual Production (MWh):
Section Applicable to Battery Storage
Type of Battery System: |  |  | TABLE 1: Battery Recharge Time
Make/Model/Battery System: |  |  | Depth of Discharge, DOD (%):
Battery Inverter Make and Model: |  |  | Recharge Time (hrs):
Cell Manufacturer:
Number of Batteries: |  |  | Example
Capability for Regulation (Y/N): |  |  | Depth of Discharge, DOD (%): | 90 | 75 | 50 | 25
Response Time in Regulation Application (Unit of Time): |  |  | Recharge Time (hrs): | 8 | 6.8 | 5.5 | 2.3
Charging Source (PV system/grid):
Expected Life of Batteries Assuming Maximum Number of Cycles per Year Denoted Above at Maximum Designed Discharge Rate (yrs):
If Life of Battery is Time Dependent, Provide Years of Expected Life (yrs)
Build-Transfer Ownership |  |  | TABLES 1-7 ON NEXT SHEET
Overnight Capital Cost ($): |  | Please fill in TABLE 1 for payment detail if applicable.
Tax ($):
Total Overnight Capital Cost ($):
Construction Expenditures (%/yr or $/yr): |  | Please fill in TABLE 2 for per year breakdown detail.
VOM Price ($/MWh):
FOM Price ($/kW-yr):
Personnel Requirements (No.):
Estimated Employee Salary ($/yr): |  | (with overheads)
Minor and Major O&M Cost Schedule | Please Complete Table 3 | Please fill in TABLE 3 for minor and major O&M cost schedule.
Maximum Number of Starts per Year (No.):
Start-Up Cost ($)(2):
Transmission Charge ($/Year): If Transmission Rights/Reservation If located outside of EPE's system
Interconnection Fee ($):
PPA |  |  | TABLES 1-7 ON NEXT SHEET
Capacity Charge ($/kW-mo and $/Yr) : |  | Please fill in TABLE 4.
Escalation Rate for Capacity Charge (%):
Energy Charge ($/MWh): |  | Please fill in TABLE 4.
Escalation Rate for Energy Charge (%):
Provide I/O Equation: If Tolling PPA
NOTES:
(1) First year energy (MWh)
(2) First year energy ($)

## 10.4.1_Energy_Storage_TABLES
10.4.1 TABLES FOR RENEWABLE AND INTERMITTENT RESOURCES TABLES
Please fill in the following information in Excel format as provided below (where applicable):
TABLE 1. Build-Transfer Ownership Progress Payment Schedule Option
Payment Number | Description of Construction Expenditures ot Milestone | Payment Due Date (i.e. year 1, year 2…) | Percent of Total Construction Cost (%) | Total Cost ($)
1
2
3
4
5
6
7
8
9
10
11
12
NOTE: Total Overnight Capital Cost including AFUDC
TABLE 2. Construction Expenditures
| Ratio (%/yr) | Capital Cost ($/yr)
Year 1
Year 2
Year 3
Year 4
Year 5
NOTE: Overnight Capital Cost
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component/ Maintenance Activity | Cost | Fired Hours | Time Based Frequency | Outage Duration |  | Definitions/Description
TOTAL | 0
NOTE: Please provide the O&M cash flow of operating costs in nominal dollars based on your project's operation, i.e., peaking, intermediate or base load, based on its fired hours per year for the respective outage cycle period.
For Example
TABLE 3. Required Minor and Major O&M Activities
Maintenance Based on
Component | Cost | Fired Hours | Frequency | Duration
Inverter Replacement | 750000 | 24000 | Every two years | 2-weeks
Wind Turbine Rebuild | 1000000 | 48000 | Every two years | 4-weeks
Hardware Replacement | 2500000 | 100000 | Every four years | 8-weeks
Back-up Batter Replacement | 500000 | 32000 | Every 5 years | 3-weeks
TOTAL | 4750000
For Example
TABLE 4. PPA Pricing Arrangement | [6 empty] | TABLE 4. PPA Pricing Arrangement
Bid Synopsis (Example): | [6 empty] | Bid Synopsis (Example):
Bidder is prepared to finance, permit, design, engineer, procure and construct a X1 MW…renewable energy generating facility in Y increments for a term of Z years. | [6 empty] | Bidder is prepared to finance, permit, design, engineer, procure and construct a 150 MWAC ground-mounted, single-axis tracking solar energy generating facility in three increments for a term of 20 or 30 years.
|  | Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr) |  |  |  |  | Fixed PPA Pricing Energy Charge ($/MWh) |  | Fixed PPA Pricing Capacity Charge ($/kW-yr)
Project Description | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  | Project Description | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
| X1 MW | [6 empty] | 50 MW | 50 | 48 | --- | ---
| X2 MW | [6 empty] | 100 MW | 47 | 45 | --- | ---
| X3 MW | [6 empty] | 150 MW | 43 | 41 | --- | ---
|  | Escalating PPA Pricing Energy Charge ($/MWh) |  | Escalating PPA Pricing Capacity Charge ($/MWh) |  |  |  |  | Escalating PPA Pricing Energy Charge ($/MWh) |  | Escalating PPA Pricing Capacity Charge ($/MWh)
Project Description | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2 |  | Project Description | MW | Term Option 1 | Term Option 2 | Term Option 1 | Term Option 2
| X1 MW | [6 empty] | 50 MW | 40 | 38 | --- | ---
| X2 MW | [6 empty] | 100 MW | 36 | 34 | --- | ---
| X3 MW | [6 empty] | 150 MW | 32 | 30 | --- | ---
Escalation Rate (%): | [6 empty] | Escalation Rate ($):
TABLE 5. Production Profile (MW) (1), (2), (3)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1
2
3
4
5
6
7
8
9
10
11
12
13 | bar: May to Sep
14 | bar: May to Sep
15 | bar: May to Sep
16 | bar: May to Sep
17 | bar: May to Sep
18 | bar: May to Sep
19
20
21
22
23
24
Total MWh/day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total On-Peak MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/yr | Jan: 0
Total On-Peak MWh | Jan: 0
NOTES:
(1) Provide AC rating of the capacity
(2) First year energy (MWh)
(3) On-Peak (May 1-Sept 30 1PM-4PM)
For Example
TABLE 5. Production Profile (MW)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hour Ending | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0.18907 | 0 | 0.14569 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 4.7334 | 23.199 | 38.6616 | 41.6226 | 31.2715 | 18.9349 | 12.0338 | 0.23334 | 0 | 0
8 | 0 | 15.2348 | 35.0848 | 54.5771 | 60.8652 | 60.5554 | 51.0603 | 46.7722 | 47.9026 | 37.0081 | 24.6072 | 4.4602
9 | 40.7506 | 48.3161 | 52.8562 | 65.6627 | 65.1601 | 65.6559 | 55.5187 | 57.4195 | 60.352 | 51.7316 | 49.1387 | 45.3641
10 | 50.1209 | 54.4903 | 58.241 | 64.6959 | 65.3874 | 68.5877 | 60.4789 | 61.0196 | 62.267 | 55.1107 | 50.7704 | 51.0423
11 | 49.0999 | 53.9025 | 63.5792 | 65.7381 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 55.311 | 49.729 | 48.2119
12 | 46.3323 | 55.0997 | 61.8507 | 68.7057 | 65.9395 | 68.904 | 62.9472 | 64.2979 | 64.4619 | 53.7651 | 48.0206 | 44.2825
13 | 45.1161 | 54.6796 | 62.0743 | 67.2835 | 65.6738 | 68.1732 | 66.1323 | 60.6446 | 64.9147 | 52.1825 | 48.4386 | 44.463
14 | 46.8623 | 55.3274 | 62.5978 | 65.5001 | 67.5137 | 69.5026 | 64.6911 | 64.264 | 64.8443 | 57.7967 | 51.4136 | 47.1318
15 | 46.578 | 52.3749 | 60.7207 | 63.4145 | 64.8517 | 66.0982 | 62.5322 | 62.2006 | 62.0794 | 56.565 | 52.8518 | 41.5085
16 | 43.2767 | 43.5942 | 55.807 | 62.403 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 55.3013 | 45.0621 | 38.8351
17 | 19.3212 | 29.2345 | 45.8406 | 49.745 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 25.6756 | 11.0578 | 8.4485
18 | 0.011837 | 2.711 | 14.6497 | 24.159 | 60.6966 | 63.3542 | 52.6463 | 58.1018 | 58.5426 | 0.40762 | 0 | 0
19 | 0 | 0 | 0.038535 | 0.27333 | 4.2453 | 7.424 | 8.9443 | 1.2235 | 0.24215 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total MWh/day | 387.4699 | 464.9651 | 578.0738 | 675.3569 | 746.5169 | 775.49 | 684.6083 | 675.3802 | 679.1874 | 501.0884 | 431.09 | 373.748
Total On-Peak MWh | 0 | 0 | 0 | 0 | 380.1292 | 393.8365 | 351.2945 | 361.4145 | 367.4661 | 0 | 0 | 0
Total MWh/yr | Jan: 212206.2053
Total On-Peak MWh | Jan: 56717.0625
TABLE 6. Annual Production and Degradation
Year | Jan: Maximum Degradation (%); Feb: Maximum Annual Energy (MWh/yr); Mar: Guaranteed Annual Energy (MWh/yr); Apr: Maximum On-Peak Energy (MWh/yr); May: Guaranteed On-Peak Energy (MWh/yr)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

## 10.5_General_Info_Form
10.5 General Information (FORM 1)
11.1.1 | Proposal/Facility Name:
11.1.2 | Name of Bidding Company:
11.1.3 | Type of Power Offered: | (i.e., Baseload, Intermediate, Peaking)
11.1.4 | Proposal Type (Check One)
PPA from Existing Unit:
PPA from Existing Unit with Purchase Option:
PPA from New Unit:
PPA from New Unit with Purchase Option:
Equity Participation in Existing Unit:
Equity Participation in New Unit:
EPC Turnkey Project:
Sale of Existing Unit:
Lease of Existing Unit:
Lease of New Unit:
System Sale:
| Other: | Provide details
11.1.5 | Fuel Type
Primary:
Secondary/Backup:
11.1.6 | Bidder Classification (Check one)
Utility (retail serving):
Independent Power Producer:
Small Power Producer:
Cogenerator:
Other (explain):
11.1.7 | Proposed Total Guaranteed Firm Capacity (net MW) Delivered to EPE's Load Area
| Summer (105˚F): | (must match firm capacity information provided previously)
| Winter (35˚F): | (must match firm capacity information provided previously)
11.1.8 | Proposed Delivery Start or Commercial Operations Date:
11.1.9 | Proposed Delivery End or Retirement Date:

## 8,760 Hour Annual - Optional
Please Specify: |  | MWh or kWh |  | Bidder Name:
Hour Ending
Date | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 24:00
2008-01-01
2008-01-02
2008-01-03
2008-01-04
2008-01-05
2008-01-06
2008-01-07
2008-01-08
2008-01-09
2008-01-10
2008-01-11
2008-01-12
2008-01-13
2008-01-14
2008-01-15
2008-01-16
2008-01-17
2008-01-18
2008-01-19
2008-01-20
2008-01-21
2008-01-22
2008-01-23
2008-01-24
2008-01-25
2008-01-26
2008-01-27
2008-01-28
2008-01-29
2008-01-30
2008-01-31
2008-02-01
2008-02-02
2008-02-03
2008-02-04
2008-02-05
2008-02-06
2008-02-07
2008-02-08
2008-02-09
2008-02-10
2008-02-11
2008-02-12
2008-02-13
2008-02-14
2008-02-15
2008-02-16
2008-02-17
2008-02-18
2008-02-19
2008-02-20
2008-02-21
2008-02-22
2008-02-23
2008-02-24
2008-02-25
2008-02-26
2008-02-27
2008-02-28
2008-02-29
2008-03-01
2008-03-02
2008-03-03
2008-03-04
2008-03-05
2008-03-06
2008-03-07
2008-03-08
2008-03-09
2008-03-10
2008-03-11
2008-03-12
2008-03-13
2008-03-14
2008-03-15
2008-03-16
2008-03-17
2008-03-18
2008-03-19
2008-03-20
2008-03-21
2008-03-22
2008-03-23
2008-03-24
2008-03-25
2008-03-26
2008-03-27
2008-03-28
2008-03-29
2008-03-30
2008-03-31
2008-04-01
2008-04-02
2008-04-03
2008-04-04
2008-04-05
2008-04-06
2008-04-07
2008-04-08
2008-04-09
2008-04-10
2008-04-11
2008-04-12
2008-04-13
2008-04-14
2008-04-15
2008-04-16
2008-04-17
2008-04-18
2008-04-19
2008-04-20
2008-04-21
2008-04-22
2008-04-23
2008-04-24
2008-04-25
2008-04-26
2008-04-27
2008-04-28
2008-04-29
2008-04-30
2008-05-01
2008-05-02
2008-05-03
2008-05-04
2008-05-05
2008-05-06
2008-05-07
2008-05-08
2008-05-09
2008-05-10
2008-05-11
2008-05-12
2008-05-13
2008-05-14
2008-05-15
2008-05-16
2008-05-17
2008-05-18
2008-05-19
2008-05-20
2008-05-21
2008-05-22
2008-05-23
2008-05-24
2008-05-25
2008-05-26
2008-05-27
2008-05-28
2008-05-29
2008-05-30
2008-05-31
2008-06-01
2008-06-02
2008-06-03
2008-06-04
2008-06-05
2008-06-06
2008-06-07
2008-06-08
2008-06-09
2008-06-10
2008-06-11
2008-06-12
2008-06-13
2008-06-14
2008-06-15
2008-06-16
2008-06-17
2008-06-18
2008-06-19
2008-06-20
2008-06-21
2008-06-22
2008-06-23
2008-06-24
2008-06-25
2008-06-26
2008-06-27
2008-06-28
2008-06-29
2008-06-30
2008-07-01
2008-07-02
2008-07-03
2008-07-04
2008-07-05
2008-07-06
2008-07-07
2008-07-08
2008-07-09
2008-07-10
2008-07-11
2008-07-12
2008-07-13
2008-07-14
2008-07-15
2008-07-16
2008-07-17
2008-07-18
2008-07-19
2008-07-20
2008-07-21
2008-07-22
2008-07-23
2008-07-24
2008-07-25
2008-07-26
2008-07-27
2008-07-28
2008-07-29
2008-07-30
2008-07-31
2008-08-01
2008-08-02
2008-08-03
2008-08-04
2008-08-05
2008-08-06
2008-08-07
2008-08-08
2008-08-09
2008-08-10
2008-08-11
2008-08-12
2008-08-13
2008-08-14
2008-08-15
2008-08-16
2008-08-17
2008-08-18
2008-08-19
2008-08-20
2008-08-21
2008-08-22
2008-08-23
2008-08-24
2008-08-25
2008-08-26
2008-08-27
2008-08-28
2008-08-29
2008-08-30
2008-08-31
2008-09-01
2008-09-02
2008-09-03
2008-09-04
2008-09-05
2008-09-06
2008-09-07
2008-09-08
2008-09-09
2008-09-10
2008-09-11
2008-09-12
2008-09-13
2008-09-14
2008-09-15
2008-09-16
2008-09-17
2008-09-18
2008-09-19
2008-09-20
2008-09-21
2008-09-22
2008-09-23
2008-09-24
2008-09-25
2008-09-26
2008-09-27
2008-09-28
2008-09-29
2008-09-30
2008-10-01
2008-10-02
2008-10-03
2008-10-04
2008-10-05
2008-10-06
2008-10-07
2008-10-08
2008-10-09
2008-10-10
2008-10-11
2008-10-12
2008-10-13
2008-10-14
2008-10-15
2008-10-16
2008-10-17
2008-10-18
2008-10-19
2008-10-20
2008-10-21
2008-10-22
2008-10-23
2008-10-24
2008-10-25
2008-10-26
2008-10-27
2008-10-28
2008-10-29
2008-10-30
2008-10-31
2008-11-01
2008-11-02
2008-11-03
2008-11-04
2008-11-05
2008-11-06
2008-11-07
2008-11-08
2008-11-09
2008-11-10
2008-11-11
2008-11-12
2008-11-13
2008-11-14
2008-11-15
2008-11-16
2008-11-17
2008-11-18
2008-11-19
2008-11-20
2008-11-21
2008-11-22
2008-11-23
2008-11-24
2008-11-25
2008-11-26
2008-11-27
2008-11-28
2008-11-29
2008-11-30
2008-12-01
2008-12-02
2008-12-03
2008-12-04
2008-12-05
2008-12-06
2008-12-07
2008-12-08
2008-12-09
2008-12-10
2008-12-11
2008-12-12
2008-12-13
2008-12-14
2008-12-15
2008-12-16
2008-12-17
2008-12-18
2008-12-19
2008-12-20
2008-12-21
2008-12-22
2008-12-23
2008-12-24
2008-12-25
2008-12-26
2008-12-27
2008-12-28
2008-12-29
2008-12-30
2008-12-31